## Conversion (hidden)
Product Family | Type | Application | Nominal Capacity | Cabinet Size | Controls | Unit Voltage | Model Vintage | Airflow Orientation | Supply Blower/Size Type | Supply Blower Options | Supply Motor Size | Supply Motor Type | Cooling Coil | Compressor Type | Refrigerant Pressure Switch | Refrigeration Controls/Options | Heating Type | Electric Heating Capacity | Gas Heating Capacity | Heater Control | Heating Gas Safety Controls | Energy Recovery | Energy Recovery Options | Ventilation | Exhaust Blower Size | Exhaust Blower Options | Exhaust Motor Size | Exhaust Motor Type | Corrosion Protection | Maintenance Options | Power Options | Control Options | Safety Controls | Pre-Filter | Final Filter
1-2 | 3 | 4 | 5-6-7 | 8-9 | 10 | 11 | 12 | 13 | 14-15 | 16 | 17 | 18 | 19 | 20 | 21 | 22-23 | 24 | 25 | 26-27 | 28 | 29 | 30 | 31 | 32 | 33-34 | 35 | 36 | 37 | 38-39 | 40-41 | 42-43 | 44-45 | 46-47 | 48 | 49
PR | O | A | 240 | D4 | * | 2 | * | * | BF | * | B | * | A | * | * | AL | B | 0 | 0 | * | * | E | * | E | BF | * | B | * | ** | ** | ** | ** | ** | * | 0
| 12 | 3 | 4 | 8-9: 56; 10: 7; 11: 8; 12: 9; 13: 10; 14-15: 11; 16: 12; 17: 13; 18: 14; 19: 15; 20: 16; 21: 17; 22-23: 18
| 62 | X | D | 8-9: 20; 10: E; 11: -; 12: A; 13: B; 14-15: -; 16: A; 17: F; 18: T; 19: B; 20: T; 21: -; 22-23: -
[19 empty] | PROA240D4*2**BF*B*A**ALB000**E*EBF*B************0 |  |  |  | 49
|  | Size (5,6) |  | 8-9: CABINET (4); 12: Condenser (12); 14-15: Voltage; 22-23: Furnace; 28: Cabinet Trigger; 29: 24; 30: 25; 31: SUPPLY FAN; 36: SUPPLY FAN MOTOR; 42-43: EVAP AND RHSC | ECW |  |  | Exhaust FAN MOTOR |  |  |  | Exhaust Fan
|  | 03 | 36 | A | A | A | A | min | 2 | [6 empty] | - |  |  | 0 | B | B | 0 | A | 280 mm | BI | CA | A | 1 | ODP | A | A | 4 | A | AL |  | - | 0 | 0 | - | 0 | 0 | 0 | - | 0 | 0 | 0
|  | 04 | 48 | B | B | F | B | min | 2 | [6 empty] | A | 75 | Standard | A1 | B | B | 0 | B | 315 mm | BI | CC | B | 1.5 | ODP | B | B | 4 | A | AM |  | A | 244 | A | A | 1 | ODP | A | A | 280 mm | BI | CA
|  | 05 | 60 | C | C | G | C | low | 2 | [6 empty] | B | 100 | Standard | B1 | B | B | 0 | C | 355 mm small | BI | CD | C | 2 | ODP | C | C | 4 | A | AL |  | B | 324 | B | B | 1.5 | ODP | B | B | 315 mm | BI | CC
|  | 06 | 72 | D | D | H | D | low | 2 | [6 empty] | C | 150 | Standard | C1 | B | B | 0 | D | 355 mm medium | BI | CE | D | 3 | ODP | D | D | 4 | A | AM |  | C | 364 | C | C | 2 | ODP | C | C | 355 mm small | BI | CD
|  | 07 | 84 | F | E | J | E | medium | 2 | [6 empty] | D | 200 | Standard | D1 | B | B | 0 | E | 355 mm large | BI | CF | E | 5 | ODP | E | E | 4 | A | DC |  | D | 424 | D | D | 3 | ODP | D | D | 355 mm medium | BI | CE
|  | 08 | 96 | G | A | A | F | medium | 2 | [6 empty] | E | 250 | Standard | E1 | B | B | 0 | F | 400 mm small | BI | CG | F | 7.5 | ODP | F | F | 6 | B | AL |  | E | 484 | E | E | 5 | ODP | E | E | 355 mm large | BI | CF
|  | 10 | 120 | H | B | F | G | high | 2 | [6 empty] | F | 300 | Standard | F1 | B | B | 0 | G | 400 mm medium | BI | CH | G | 10 | ODP | G | G | 6 | B | AM |  | F | 486 | F | F | 7.5 | ODP | F | F | 400 mm small | BI | CG
|  | 12 | 150 | I | C | G | H | high | 2 | [6 empty] | G | 350 | Standard | G1 | B | B | 0 | H | 400 mm large | BI | CJ | H | 15 | ODP | H | H | 6 | B | AL |  | G | 544 | G | G | 10 | ODP | G | G | 400 mm medium | BI | CH
|  | 15 | 180 | J | D | H | I | min | 3 | [6 empty] | H | 400 | Standard | H1 | B | B | 0 | I | 450 mm small | BI | CK | I | 1 | TEFC | A | I | 6 | B | AM |  | H | 604 | H | H | 15 | ODP | H | H | 400 mm large | BI | CJ
|  | 18 | 210 | K | E | J | J | min | 3 | [6 empty] | I | 200 | High (XL) | A2 | C | C | 0 | J | 450 mm medium | BI | CL | J | 1.5 | TEFC | B | J | 6 | B | DC |  | I | 606 | J | I | 1 | TEFC | A | I | 450 mm small | BI | CK
|  | 20 | 240 | L | A | A | K | low | 3 | [6 empty] | J | 400 | High (XL) | B2 | C | C | 0 | K | 450 mm large | BI | CM | K | 2 | TEFC | C | K | 4 | A | AL |  | J | 664 | K | J | 1.5 | TEFC | B | J | 450 mm medium | BI | CL
|  | 25 | 300 | M | B | F | L | low | 3 | [6 empty] | K | 500 | High (XL) | C2 | C | C | 0 | L | 500 mm small | BI | CN | L | 3 | TEFC | D | L | 4 | A | AM |  | K | 666 | L | K | 2 | TEFC | C | K | 450 mm large | BI | CM
|  | 30 | 360 | N | C | G | M | medium | 3 | [6 empty] | L | 600 | High (XL) | D2 | C | C | 0 | M | 500 mm large | BI | CP | M | 5 | TEFC | E | M | 4 | A | AL |  | L | 706 | M | L | 3 | TEFC | D | L | 500 mm small | BI | CN
|  | 35 | 420 | O | D | H | N | medium | 3 | [6 empty] | M | 700 | High (XL) | F2 | C | C | 0 | N | 560 mm | BI | CQ | N | 7.5 | TEFC | F | N | 4 | A | AM |  | M | 244 | A | M | 5 | TEFC | E | M | 500 mm large | BI | CP
|  | 40 | 480 | P | E | J | O | high | 3 | [6 empty] | N | 800 | High (XL) | E2 | C | C | 0 | O | 10 in | BI | BA | O | 10 | TEFC | G | O | 4 | A | DC |  | N | 324 | B | N | 7.5 | TEFC | F | N | 560 mm | BI | CQ
|  | 45 | 540 | Q | A | A | P | high | 3 | [6 empty] | 8 | 1000 | High (XL) | B4 | C | C | 0 | P | 11 in | BI | BB | P | 15 | TEFC | H | P | 6 | B | AL |  | O | 364 | C | O | 10 | TEFC | G | O | 10 in | BI | BA
|  | 50 | 600 | R | B | F | Q | min | 4 |  | min | low | medium | high |  | 9 | 1200 | High (XL) | C4 | C | C | 0 | Q | 12 in | BI | BC | Q | ECM |  | M | Q | 6 | B | AM |  | P | 424 | D | P | 15 | TEFC | H | P | 11 in | BI | BB
|  | 55 | 660 | S | C | G | R | min | 4 | A | 1 | n/a | n/a | 2 |  | O | 1400 | High (XL) | D4 | C | C | 0 | R | 14 in | BI | BD |  |  |  |  | R | 6 | B | AL |  | Q | 484 | E | Q | ECM |  | M | Q | 12 in | BI | BC
|  | 60 | 720 | T | D | H | S | low | 4 | B | 1 | 2 | 3 | 4 |  | P | 1600 | High (XL) | E4 | C | C | 0 | S | 16 in | BI | BE |  |  |  |  | S | 6 | B | AM |  | R | 486 | F |  |  |  |  | R | 14 in | BI | BD
|  | 65 | 780 | U | E | J | T | low | 4 | C | 2 | 3 | 4 | 6 |  | Q | 5 | n/a | 0 | B | A | A | T | 18 in | BI | BF |  |  |  |  | T | 6 | B | DC |  | S | 544 | G |  |  |  |  | S | 16 in | BI | BE
|  | 70 | 840 | V | A | A | U | medium | 4 | D | 4 | n/a | 6 | 8 |  | R | 10 | n/a | 0 | B | A | B | U | 20 in | BI | BG |  |  |  |  | U | 4 | A | AL |  | T | 604 | H |  |  |  |  | T | 18 in | BI | BF
|  |  |  | W | B | F | V | medium | 4 | E | 4 | n/a | 6 | 8 |  | S | 15 | n/a | 0 | B | A | C | V | 22 in | BI | BH |  |  |  |  | V | 4 | A | AM |  | U | 606 | J |  |  |  |  | U | 20 in | BI | BG
|  |  |  | X | C | G | W | high | 4 | [6 empty] | T | 20 | n/a | 0 | B | A | D | W | 25 in | BI | BJ |  |  |  |  | W | 4 | A | AL |  | V | 664 | K |  |  |  |  | V | 22 in | BI | BH
|  |  |  | Y | D | H | X | high | 4 | [6 empty] | U | 25 | n/a | 0 | B | A | E | X | 12 in | AF | AC |  |  |  |  | X | 4 | A | AM |  | W | 666 | L |  |  |  |  | W | 25 in | BI | BJ
|  |  |  | Z | E | J | Y | min | 5 | [6 empty] | V | 30 | n/a | 0 | B | A | F | Y | 14 in | AF | AD |  |  |  |  | Y | 4 | A | DC |  | X | 706 | M |  |  |  |  | X | 12 in | AF | AC
|  |  |  | 1 | A | A | Z | min | 5 | [6 empty] | W | 35 | n/a | 0 | B | A | G | Z | 16 in | AF | AE |  |  |  |  | Z | 6 | B | AL | [8 empty] | Y | 14 in | AF | AD
|  |  |  | 2 | B | F | 1 | low | 5 | [6 empty] | X | 40 | n/a | 0 | B | A | H | 1 | 18 in | AF | AF |  |  |  |  | 1 | 6 | B | AM | [8 empty] | Z | 16 in | AF | AE
|  |  |  | 3 | C | G | 2 | low | 5 | [6 empty] | Y | 50 | n/a | 0 | B | A | K | 2 | 20 in | AF | AG |  |  |  |  | 2 | 6 | B | AL | [8 empty] | 1 | 18 in | AF | AF
|  |  |  | 4 | D | H | 3 | medium | 5 | [6 empty] | Z | 60 | n/a | 0 | B | A | M | 3 | 22 in | AF | AH |  |  |  |  | 3 | 6 | B | AM | [8 empty] | 2 | 20 in | AF | AG
|  |  |  | 5 | E | J | 4 | medium | 5 | [6 empty] | 1 | 70 | n/a | 0 | B | A | N | 4 | 25 in | AF | AJ |  |  |  |  | 4 | 6 | B | DC | [8 empty] | 3 | 22 in | AF | AH
|  |  |  | 12: 5; 13: high; 14-15: 5; 22-23: 2; 24: 80; 25: n/a; 26-27: 0; 28: B; 29: A; 30: P | [7 empty] | 4 | 25 in | AF | AJ
[7 empty] | 6 | high | 5 | [6 empty] | 3 | 100 | n/a | 0 | B | A | R
[16 empty] | 4 | 110 | n/a | 0 | B | A | S
[16 empty] | 5 | 120 | n/a | 0 | B | A | T
[16 empty] | 6 | Steam Coil |  | 0 | B | F | 0
[16 empty] | 7 | Hot Water Coil |  | 0 | B | F | 0

## Sheet2 (hidden)
62XD20E-AB-AFTBT--
| 3 | 4 | 5 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18
62 | X | D | 20 | E | - | A | B | - | A | F | T | B | T | - | -

## Weights
CODE | Description | Select Code from DROPDOWN below |  |  | 49 | [11 empty] | Unit | TYPE | APPLICATION | CAPACITY | CABINET | CNTLS | VOLTAGE | VINTAGE | AF ORIENT | SUPPLY | S. OPTS | S. MOTOR | S MTR. TYPE | 4/6 ROW | COMP | Ref. P.Sw | RFG. CNTLS | HEAT TYPE | ELEC. HEAT | GAS FURN | HTR CNTL | GAS SAFETY | ECW | ECW OPTS | VENTILN | EXHAUST BWLR | E. BWLR OPTS | E. MOTOR | E. MTR TYPE | CORROSN | MAINTN OPTS | POWER OPTS | CNTL OPTS | SAFETY OPTS | FLTR | FINAL FLTR
1-2 | UNIT | PR | [12 empty] | PR |  | 1-2 | 3 | 4 | 5-6-7 | 8-9 | 10 | 11 | 12 | 13 | 14-15 | 16 | 17 | 18 | 19 | 20 | 21 | 22-23 | 24 | 25 | 26-27 | 28 | 29 | 30 | 31 | 32 | 33-34 | 35 | 36 | 37 | 38-39 | 40-41 | 42-43 | 44-45 | 46-47 | 48 | 49
3 | TYPE | O | [12 empty] | O |  | PR | O | A | 36 | A0 | * | 2 | A | * | AA= 10” DD, Airfoil | * | A = 1HP | * | A = 4-Row Evap. | * | * | 0 | 0 | 0 | 0 | * | * | 0 | * | 0 | 0 | * | 0 | * | * | * | * | * | * | * | 0
4 | APPLICATION | W | [12 empty] | W |  |  | R | W | 48 | 8-9: B0; 11: 3; 14-15: AB= 11” DD, Airfoil; 17: B = 1.5HP; 19: B = 6-Row Evap; 22-23: AL = RHX1; 24: A = Electric; 25: A = 5kW; 26-27: A1 = 75MBH; 30: A = ECW244; 32: A = OA Damper ONLY; 33-34: AA= 10” DD, Airfoil; 36: A = 1HP; 49: A
5-6-7 | CAPACITY | 720 | Select appropriate Cabinet and fans | [11 empty] | 720 |  |  | M | H | 60 | 8-9: C0; 11: 4; 14-15: AC= 12” DD, Airfoil; 17: C = 2HP; 19: C = 4-Row CWC; 22-23: AM = RHx2; 24: B = N. Gas x1; 25: B = 10kW; 26-27: B1 = 100MBH; 30: B = ECW324; 32: B = OA Damper ONLY; 33-34: AB= 11” DD, Airfoil; 36: B = 1.5HP; 49: B
8-9 | CABINET | J0 | Change to '0' fans | [11 empty] | J0 |  |  |  | F | 72 | 8-9: D0; 11: 5; 14-15: AD= 14” DD, Airfoil; 17: D = 3HP; 19: D = 6-Row CWC; 22-23: AN = SCx1; 24: C = N. Gas x 2; 25: C = 15kW; 26-27: C1 = 150MBH; 30: C = ECW364; 32: C = OA Damper ONLY; 33-34: AC= 12” DD, Airfoil; 36: C = 2HP; 49: C
10 | CNTLS | * | [12 empty] | * |  |  |  |  | 84 | 8-9: E0; 11: 6; 14-15: AE= 16” DD, Airfoil; 17: E = 5HP; 19: X; 22-23: BC = RHx1; 24: D = P. Gas x1; 25: D = 20kW; 26-27: D1 = 200MBH; 30: D = ECW424; 32: D = OA & RA Dampers; 33-34: AD= 14” DD, Airfoil; 36: D = 3HP; 49: D
11 | VOLTAGE | 2 | [12 empty] | 2 |  |  |  |  | 96 | 8-9: A1; 11: 7; 14-15: AF= 18” DD, Airfoil; 17: F = 7.5HP; 22-23: BD = SCx1; 24: E = P. Gas x2; 25: E = 25kW; 26-27: E1 = 250MBH; 30: E = ECW484; 32: E = OA & RA Dampers; 33-34: AE= 16” DD, Airfoil; 36: E = 5HP; 49: E
12 | VINTAGE | A | [12 empty] | A |  |  |  |  | 120 | 8-9: A2; 11: X; 14-15: AG= 20” DD, Airfoil; 17: G = 10HP; 22-23: BG = RHx1; 24: F = HWC; 25: F = 30kW; 26-27: F1 = 300MBH; 30: F = ECW486; 32: F = OA & RA Dampers; 33-34: AF= 18” DD, Airfoil; 36: F = 7.5HP; 49: F
13 | SUP. ORIENTATION | * | [12 empty] | * |  |  |  |  | 150 | 8-9: B1; 14-15: AH= 22” DD, Airfoil; 17: H = 15HP; 22-23: BH = SCx1; 24: X; 25: G = 35kW; 26-27: G1 = 350MBH; 30: G = ECW544; 32: G = OA & RA Dampers; 33-34: AG= 20” DD, Airfoil; 36: G = 10HP; 49: G
14-15 | SUPPLY | AJ= 25” DD, Airfoil | Select Motor HP (Code 17) | [11 empty] | AJ | PRRF300C4**A*BG*F*D*AMF000**0*G00*0************0 |  |  |  | 180 | 8-9: B2; 14-15: AJ= 25” DD, Airfoil; 17: J = 20HP; 22-23: CC = RHx2; 25: H = 40kW; 26-27: H1 = 400MBH; 30: H = ECW604; 32: H = OA & RA Dampers; 33-34: AH= 22” DD, Airfoil; 36: H = 15HP; 49: H
16 | S. OPTS | * | [12 empty] | * |  |  |  |  | 210 | 8-9: B3; 14-15: AK= 28” DD, Airfoil; 17: K = 25HP; 22-23: CD = SCx1; 25: J = 45kW; 26-27: J1 = 500MBH; 30: J = ECW606; 32: X; 33-34: AJ= 25” DD, Airfoil; 36: J = 20HP; 49: X
17 | S. MOTOR | H = 15HP | Select Motor | [11 empty] | H | 49 |  |  |  | 240 | 8-9: B4; 14-15: BA= 10” DD, BI; 17: L = 30HP; 22-23: CH = RHx2; 25: K = 50kW; 26-27: K1 = 600MBH; 30: K = ECW664; 33-34: AK= 28” DD, Airfoil; 36: K = 25HP
18 | S MTR. TYPE | * | [12 empty] | * |  |  |  |  | 300 | 8-9: C2; 14-15: BB= 11” DD, BI; 17: M = ECM; 22-23: CJ = SCx1; 25: L = 55kW; 26-27: A2 = 2x100MBH; 30: L = ECW666; 33-34: BA= 10” DD, BI; 36: L = 30HP
19 | 4/6 ROW | B = 6-Row Evap | Select Evaporator | [11 empty] | B |  |  |  |  | 360 | 8-9: C3; 14-15: BC= 12” DD, BI; 17: X; 22-23: DA = SCx1; 25: M = 60kW; 26-27: B2 = 2x200MBH; 30: M = ECW706; 33-34: BB= 11” DD, BI; 36: M = ECM
20 | COMP | * | [12 empty] | * |  |  |  |  | 420 | 8-9: C4; 14-15: BD= 14” DD, BI; 22-23: DB = SCx1; 25: N = 70kW; 26-27: C2 = 2x250MBH; 30: N = ECW724; 33-34: BC= 12” DD, BI; 36: X
21 | Ref. Pr. Sw | * | Dehumidication option available | [11 empty] | * | PROW720J0*2A*AJ*H*B**DCAM00**0*D00*0************0 |  |  |  | 480 | 8-9: C6; 14-15: BE= 16” DD, BI; 22-23: DC = RHSC; 25: P = 80kW; 26-27: D2 = 2x300MBH; 30: P = ECW726; 33-34: BD= 14” DD, BI
22-23 | RFG. CNTLS | DC = RHSC | Select Gas or Elec.HeatCap. | [11 empty] | DC |  |  |  |  | 540 | 8-9: D4; 14-15: BF= 18” DD, BI; 22-23: DD = SCx1; 25: Q = 90kW; 26-27: E2 = 2x400MBH; 30: Q = ECW784; 33-34: BE= 16” DD, BI
24 | HEAT TYPE | A = Electric | Code 23 = Elec. Heat | [11 empty] | A |  |  |  |  | 600 | 8-9: D6; 14-15: BG= 20” DD, BI; 22-23: DE = SCx1; 25: R = 100kW; 26-27: F2 = 2x350MBH; 30: R = ECW786; 33-34: BF= 18” DD, BI
25 | ELEC. HEAT | M = 60kW | [12 empty] | M |  |  |  |  | 660 | 8-9: D8; 14-15: BH= 22” DD, BI; 22-23: DF = SCx1; 25: S = 110kW; 26-27: G2 = 2x500MBH; 30: S = ECW7812; 33-34: BG= 20” DD, BI
26-27 | GAS FURN | 0 | [12 empty] | 0 |  |  |  |  | 720 | 8-9: E6; 14-15: BJ= 25” DD, BI; 22-23: DG = SCx1; 25: T = 120kW; 26-27: H2 = 2x600MBH; 30: T = ECW844; 33-34: BH= 22” DD, BI
28 | HTR CNTL | * | [12 empty] | * |  |  |  |  | 780 | 8-9: E8; 14-15: BK= 28” DD, BI; 22-23: DH = RHSC; 25: U = 130kW; 26-27: A4 = 4x200MBH; 30: U = ECW846; 33-34: BJ= 25” DD, BI
29 | GAS SAFETY | * | [12 empty] | * |  |  |  |  | 840 | 8-9: F1; 14-15: CA= 280mm Single ECM (CIW.087.5FA); 22-23: DJ = SCx1; 25: V = 140kW; 26-27: B4 = 4x250MBH; 30: V = ECW8412; 33-34: BK= 28” DD, BI
30 | ECW | 0 | [12 empty] | 0 | [5 empty] | 8-9: F2; 14-15: CB= 315mm Single ECM (CIW.098.5FA); 22-23: DK = SCx1; 25: W = 150kW; 26-27: C4 = 4x300MBH; 30: X = Special; 33-34: CA= 280mm Single ECM (CIW.087.5FA)
31 | ECW OPTS | * |  |  | * Unit Shown: PR A1 Cabinet | [9 empty] | * | [5 empty] | 8-9: F3; 14-15: CC= 315mm Single ECM (CIW.080.5FA); 22-23: XX; 25: X; 26-27: D4 = 4x350MBH; 33-34: CB= 315mm Single ECM (CIW.098.5FA)
32 | VENTILN | D = OA & RA Dampers | [12 empty] | D | [5 empty] | 8-9: F4; 14-15: CD= 355mm Single ECM (CIW.110.5HF); 26-27: E4 = 4x400MBH; 33-34: CC= 315mm Single ECM (CIW.080.5FA)
33-34 | EXHAUST BWLR | 0 | [12 empty] | 0 | [5 empty] | 8-9: G2; 14-15: CE= 355mm Single ECM (CIW.110.6FF); 26-27: XX = Special; 33-34: CD= 355mm Single ECM (CIW.110.5HF)
35 | E. BWLR OPTS | * |  |  | Quote/Job# | [9 empty] | * | [5 empty] | 8-9: G3; 14-15: CF= 355mm Single ECM (CIB.112.5HF); 33-34: CE= 355mm Single ECM (CIW.110.6FF)
36 | E. MOTOR | 0 |  |  | Customer | [9 empty] | 0 | [5 empty] | 8-9: G4; 14-15: CG= 400mm Single ECM (CIW.123.5HF); 33-34: CF= 355mm Single ECM (CIB.112.5HF)
37 | E. MTR TYPE | * | [12 empty] | * | [5 empty] | 8-9: G6; 14-15: CH= 400mm Single ECM (CIW.123.6FF); 33-34: CG= 400mm Single ECM (CIW.123.5HF)
38-39 | CORROSN | ** |  |  |  | PROW720J0*2A*AJ*H*B**DCAM00**0*D00*0************0 | [8 empty] | ** | [5 empty] | 8-9: H4; 14-15: CJ= 400mm Single ECM (CIB.125.6FF); 33-34: CH= 400mm Single ECM (CIW.123.6FF)
40-41 | MAINTN OPTS | ** | [12 empty] | ** | [5 empty] | 8-9: H6; 14-15: CK= 450mm Single ECM (CIW.138.5HF); 33-34: CJ= 400mm Single ECM (CIB.125.6FF)
42-43 | POWER OPTS | ** |  |  | : RHSC 6-Row Evap. 25 inch FAN; 15HP 60kW EXL Cab | [9 empty] | ** | [5 empty] | 8-9: H8; 14-15: CL= 450mm Single ECM (CIW.138.6FF); 33-34: CK= 450mm Single ECM (CIW.138.5HF)
44-45 | CNTL OPTS | ** |  |  | PROW | Shipping Weight | Operating Weight | Center of Gravity |  |  | Corner Weights |  |  |  | ** | [5 empty] | 8-9: J6; 14-15: CM= 450mm Single ECM (CIB.140.6IF); 33-34: CL= 450mm Single ECM (CIW.138.6FF)
46-47 | SAFETY OPTS | ** |  |  | 0 | lbs (kg) | lbs (kg) | X | Y | Z | LF | LB | RF | RB | ** | [5 empty] | 8-9: J8; 14-15: CN= 500mm Single ECM (CIW.155.6IF); 33-34: CM= 450mm Single ECM (CIB.140.6IF)
48 | FLTR | * |  |  | 720 | 9680 | 9800 | 112.3033 | 54.9853 | 63.219 | 1910 | 2340 | 2490 | 3060 | * | [5 empty] | 8-9: F0; 14-15: CP= 500mm Single ECM (CIB.160.6IF); 33-34: CN= 500mm Single ECM (CIW.155.6IF)
49 | FINAL FLTR | 0 | Future |  |  | -4385.04 | -4439.4 | -2852.5029 | -1396.6274 | -1605.763 | -865.23 | -1060.02 | -1127.97 | -1386.18 | 0 | [5 empty] | 8-9: G0; 14-15: CQ= 560mm Single ECM (CIW.174.6IF); 33-34: CP= 500mm Single ECM (CIB.160.6IF)
[10 empty] | Approx. Main Cabinet LXW: 205 X 100 |  |  |  | 2016-11-11 | [6 empty] | 8-9: H0; 14-15: DA= 280mm Dual ECM (CIW.087.5FA); 33-34: CQ= 560mm Single ECM (CIW.174.6IF)
[5 empty] | * Corner weights along the main cabinet. | [15 empty] | 8-9: J0; 14-15: DB= 315mm Dual ECM (CIW.098.5FA); 33-34: DA= 280mm Dual ECM (CIW.087.5FA)
[5 empty] | * Weights include condenser section. | [15 empty] | 14-15: DC= 315mm Dual ECM (CIW.080.5FA); 33-34: DB= 315mm Dual ECM (CIW.098.5FA)
[26 empty] | DD= 355mm Dual ECM (CIW.110.5HF) | [15 empty] | DC= 315mm Dual ECM (CIW.080.5FA)
|  |  |  | ANILSARMA7 | [16 empty] | 14-15: DE= 355mm Dual ECM (CIW.110.6FF); 33-34: DD= 355mm Dual ECM (CIW.110.5HF)
[26 empty] | DF= 355mm Dual ECM (CIB.112.5HF) | [15 empty] | DE= 355mm Dual ECM (CIW.110.6FF)
[26 empty] | DG= 400mm Dual ECM (CIW.123.5HF) | [15 empty] | DF= 355mm Dual ECM (CIB.112.5HF)
|  |  |  | Notes: | [16 empty] | 14-15: DH= 400mm Dual ECM (CIW.123.6FF); 33-34: DG= 400mm Dual ECM (CIW.123.5HF)
|  |  |  | 1. Follow cabinet CFM limits for each component. | [16 empty] | 14-15: DJ= 400mm Dual ECM (CIB.125.6FF); 33-34: DH= 400mm Dual ECM (CIW.123.6FF)
|  |  |  | 2. Refer to PR Code String for additional details. | [16 empty] | 14-15: EA= Dual 14" DD, BI; 33-34: DJ= 400mm Dual ECM (CIB.125.6FF)
|  |  |  | 3. Double furnace will select an "XL" cabinet. | [16 empty] | 14-15: EB= Dual 14" DD, AF; 33-34: EA= Dual 14" DD, BI
[26 empty] | EC= Dual 16" DD, BI | [15 empty] | EB= Dual 14" DD, AF
[26 empty] | ED= Dual 16" DD, AF | [15 empty] | EC= Dual 16" DD, BI
[26 empty] | EE= Dual 18" DD, BI | [6 empty] | 0 | [8 empty] | ED= Dual 16" DD, AF
[26 empty] | EF= Dual 18" DD, AF | [6 empty] | AL = RHX1 | [8 empty] | EE= Dual 18" DD, BI
[26 empty] | EG= Dual 20" DD, BI | [6 empty] | AM = RHx2 | [8 empty] | EF= Dual 18" DD, AF
[26 empty] | EH= Dual 20" DD, AF | [6 empty] | AN = SCx1 | [8 empty] | EG= Dual 20" DD, BI
[26 empty] | XX = Applied Special | [6 empty] | BC = RHx1 | [8 empty] | EH= Dual 20" DD, AF
[33 empty] | BD = SCx1 | [8 empty] | XX = Applied Special
BG = RHx1
BH = SCx1
CC = RHx2
CD = SCx1
CH = RHx2
CJ = SCx1
DA = SCx1
DB = SCx1
DC = RHSC
DD = SCx1
DE = SCx1
DF = SCx1
DG = SCx1
DH = RHSC
DJ = SCx1
DK = SCx1
XX

## Sheet 3 (hidden)
| 48 | [54 empty] | PRO/RW | Total coils' lbs | lb of water |  |  |  |  | Condenser
| PROW720J0*2A*AJ*H*B**DCAM00**0*D00*0************0 |  |  |  | Voltage | 2 | [5 empty] | Evap | 36 | 48 | 60 | 72 | 84 | 96 | 120 | 150 | 180 | 210 | 240 | 300 | 360 | 420 | 480 | 540 | 600 | 660 | 720 | 780 | 840 | Comp | 36 | 48 | 60 | 72 | 84 | 96 | 120 | 150 | 180 | 210 | 240 | 300 | 360 | 420 | 480 | 540 | 600 | 660 | 720 | 780 | 840 | 36 | 20 | 3.4 |  |  |  |  | PRO | 36 | 48 | 60 | 72 | 84 | 96 | 120 | 150 | 180 | 210 | 240 | 300 | 360 | 420 | 480 | 540 | 600 | 660 | 720 | 780 | 840
PROA240D4*2**BF*B*A**ALB00**E*EBF*B************0 |  |  | Cabinet | Fans | Evap | WC/Evap | RH/SC | Supply | Exhaust | ECW |  | PRO | 24 | 24 | 24 | 37 | 37 | 37 | 55 | 55 | 55 | 80 | 80 | 94 | 127 | 127 | 226 | 226 | 226 | 226 | 740 | 740 | 840 | PRO | ZP34 | ZP42 | ZP51 | ZP54 | ZP72 | ZP83 | ZP51 | ZP61 | ZP72 | ZP91 | ZP103 | ZP120 | ZP137 | ZP182 | ZPt206 | ZPT240 | ZPT274 | ZPT364 | ZPT240 | ZPT274 | ZPT364 | 48 | 36 | 5 |  |  |  | A1 | A1 | 463 | 463 | 463 | 463 | 463 | 463 | # | # | # | # | # | # | # | # | # | # | # | # | # | # | #
| PROW | 720 | J | 0 | B |  | DC | AJH | 000 | 0 |  | PRR | 83 | 83 | 83 | 80 | 80 | 80 | 94 | 94 | 127 | 127 | 127 | 226 | 226 | 226 | 740 | 740 | 740 | 840 |  |  |  | PRR | ZP29 | ZP39 | ZP51 | ZP61 | ZP72 | ZP83 | ZP51 | ZP67 | ZP83 | ZP90 | ZP103 | ZP137 | ZP154 | ZP182 | ZPT206 | ZPT240 | ZPT274 | ZPT364 | ZPT240 | ZPT274 | ZPT308 | 60 | 40 | 6 |  |  |  | A2 | A2 | # | # | # | # | 626 | 626 | 680 | 680 | 680 | 680 | # | # | # | # | # | # | # | # | # | # | #
| J0 | HWC | A | ELEC | M | FUR | 00 | Damper | D | [24 empty] | PRO | 48 | 67 | 75.8 | 75.6 | 88 | 87 | 75.8 | 88.8 | 88 | 95 | 135 | 136 | 138 | 146 | 283 | 289 | 276 | 292 | 289 | 276 | 292 | 72 | 40 | 6 |  |  |  | B1 | B1 | 463 | 463 | 463 | 436 | 463 | 463 | # | # | # | # | # | # | # | # | # | # | # | # | # | # | #
[12 empty] | 6-row | [21 empty] | PRR | 48 | 67 | 75.8 | 88.8 | 88 | 87 | 75.8 | 88 | 87 | 127 | 135 | 138 | 146 | 146 | 283 | 289 | 276 | 292 | 289 | 276 | 292 | 84 | 61 | 10 |  |  |  | B2 | B2 | # | # | # | # | 626 | 626 | 680 | 680 | 680 | 680 | # | # | # | # | # | # | # | # | # | # | #
Component | Description | Wi | X | Y | Z | Y/N | +/- weight |  |  |  |  | PRO | 35 | 35 | 35 | 57 | 57 | 57 | 83 | 83 | 83 | 120 | 120 | 145 | 190 | 190 | 340 | 340 | 340 | 340 | 800 | 800 | 900 | [22 empty] | 96 | 61 | 10 |  |  |  | B3 | B3 | # | # | # | # | # | # | # | # | 1050 | 1050 | 1050 | 1050 | # | # | # | # | # | # | # | # | #
Evaporator | 6-Row Evap. | 800 | 60 | 55 | 54 | y | 0 |  |  |  |  | PRR | 83 | 83 | 83 | 120 | 120 | 120 | 145 | 145 | 190 | 190 | 190 | 340 | 340 | 340 | 800 | 800 | 800 | 900 | [25 empty] | 120 | 80 | 12 |  |  |  | B4 | B4 | # | # | # | # | # | # | # | # | 987 | 987 | 950 | # | # | # | # | # | # | # | # | # | #
Supply Blower | 25 inch FAN; 15HP | 356.2 | 162 | 54 | 54 | y | 0 | [26 empty] | PRO/PRR | 36 | 48 | 60 | 72 | 84 | 96 | 120 | 150 | 180 | 210 | 240 | 300 | 360 | 420 | 480 | 540 | 600 | 660 | 720 | 780 | 840 | 150 | 80 | 12 |  |  |  | C2 | C2 | # | # | # | # | 626 | 626 | 700 | 700 | 700 | 700 | 838 | # | # | # | # | # | # | # | # | # | #
Comp 1 | ZPT240 | 289 | 100 | 20 | 32 | y | 0 |  |  |  |  | Evap | x | y | z |  | Evap | x | y | z |  | A | 4-Row Evap. | [10 empty] | Copper Parts | 182.4 | 186.048 | 189.769 | 193.5643 | 197.4356 | 201.3843 | 205.412 | 209.5203 | 213.7107 | 217.9849 | 222.3446 | 231.3273 | 235.9538 | 240.6729 | 245.4864 | 250.3961 | 255.404 | 260.5121 | 299.5889 | 299.5889 | 299.5889 | 180 | 122 | 20 |  |  |  | C3 | C3 | # | # | # | # | # | # | # | # | 1050 | 1050 | 1050 | 1050 | # | # | # | # | # | # | # | # | #
Comp 2 | ZPT240 | 289 | 180 | 20 | 32 | y | 0 |  |  |  |  | A | 24 | 38 | 40 |  | A | 60 | 38 | 40 |  | B | 6-Row Evap. | [10 empty] | Accum1 | 11.3 | 11.3 | 11.3 | 14.5 | 14.5 | 14.5 | 11.3 | 14.5 | 14.5 | 14.5 | 14.5 | 18 | 18 | 18 | 20.5 | 20.5 | 20.5 | 20.5 | 23.575 | 23.575 | 23.575 | 210 | 144 | 20 |  |  |  | C4 | C4 | # | # | # | # | # | # | # | # | 1114 | 1114 | 1114 | 1114 | 1114 | 1114 | # | # | # | # | # | # | #
A/S Condenser Section |  | FALSE | 0 | 0 | 0 | y | 0 |  |  |  |  | B | 22.5 | 38 | 43 |  | B | 62 | 38 | 43 | [13 empty] | Oil Sep 1 | 6 | 6 | 6 | 6 | 6 | 6 | 12 | 12 | 12 | 12 | 14 | 14 | 14 | 16 | 16 | 16 | 16 | 16 | 18.4 | 18.4 | 18.4 | 240 | 160 | 24 |  |  |  | C6 | C6 | # | # | # | # | # | # | # | # | # | # | # | 1316 | 1316 | 1316 | # | # | # | # | # | # | #
W/S Condenser | Water Source | 540 | 240 | 64 | 45 | y | 0 |  |  |  |  | C | 26 | 38 | 43 |  | C | 72 | 38 | 43 | [13 empty] | Receiver 1 | 11.3 | 11.3 | 11.3 | 14.5 | 14.5 | 14.5 | 11.3 | 14.5 | 14.5 | 14.5 | 14.5 | 18 | 18 | 18 | 20.5 | 20.5 | 20.5 | 20.5 | 23.575 | 23.575 | 23.575 | 300 | 216 | 30 |  |  |  | D4 | D4 | # | # | # | # | # | # | # | # | # | # | 1114 | 1114 | 1114 | 1114 | 1114 | # | # | # | # | # | #
Copper Parts |  | 299.5889 | 105 | 20 | 32 | y | 0 |  |  |  |  | D | 32 | 48 | 63 |  | D | 100 | 48 | 63 | [13 empty] | Heat Pump | 10 | 10 | 10 | 10 | 12 | 12 | 20 | 20 | 24 | 24 | 36 | 36 | 36 | 36 | 36 | 36 | 54 | 54 | 62.1 | 62.1 | 62.1 | 360 | 240 | 36 |  |  |  | D6 | D6 | # | # | # | # | # | # | # | # | # | # | # | 1316 | 1316 | 1316 | 1472 | # | # | # | # | # | #
Accum1 |  | 23.575 | 95 | 20 | 12 | y | 0 |  |  |  |  | E | 31 | 55 | 54 |  | E | 125 | 55 | 54 | [13 empty] | Elec. Box | 150 | 153 | 156.06 | 159.1812 | 162.3648 | 165.6121 | 168.9244 | 172.3029 | 175.7489 | 179.2639 | 182.8492 | 190.2363 | 194.041 | 197.9218 | 201.8803 | 205.9179 | 210.0362 | 214.2369 | 246.3725 | 246.3725 | 246.3725 | 420 | 240 | 36 |  |  |  | D8 | D8 | # | # | # | # | # | # | # | # | # | # | # | # | # | # | # | # | # | # | # | # | #
Accum2 |  | 23.575 | 185 | 20 | 12 | y | 0 |  |  |  |  | F | 22.5 | 38 | 43 |  | F | 62 | 38 | 43 | [35 empty] | 480 | 288 | 40 |  |  |  | E4 | E4 | # | # | # | # | # | # | # | # | # | # | # | # | # | # | # | # | # | # | # | # | #
Oil Sep 1 |  | 18.4 | 105 | 10 | 8 | y | 0 |  |  |  |  | G | 26 | 38 | 43 |  | G | 72 | 38 | 43 | [35 empty] | 540 | 320 | 48 |  |  |  | E6 | E6 | # | # | # | # | # | # | # | # | # | # | # | # | # | # | 1754 | 1754 | 1754 | 1754 | 1754 | 1754 | 1754
Oil Sep 2 |  | 18.4 | 110 | 10 | 8 | y | 0 |  |  |  |  | H | 32 | 48 | 63 |  | H | 100 | 48 | 63 | [35 empty] | 600 | 384 | 56 |  |  |  | E8 | E8 | # | # | # | # | # | # | # | # | # | # | # | # | # | # | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 |  | BXL Cab with 1 cond fan
Elec. Box |  | 443.4705 | 105 | 25 | 54 | y | 0 |  |  |  |  | J | 60 | 55 | 54 |  | J | 125 | 55 | 54 | [13 empty] | CWC | 36 | 48 | 60 | 72 | 84 | 96 | 120 | 150 | 180 | 210 | 240 | 300 | 360 | 420 | 480 | 540 | 600 | 660 | 720 | 780 | 840 | 660 | 488 | 80 |  |  |  |  | F1 | 463 | 463 | 463 | 436 | 463 | 463 | # | # | # | # | # | # | # | # | # | # | # | # | # | # | # |  | BXL Cab with 2 cond fan
Sheet Metal | J0 | 5510 | 102 | 65 | 77 | y | 0 | [14 empty] | SUPPLY |  |  | EXHAUST BWLR |  |  | S. MOTOR | [5 empty] | PRO | 46 | 46 | 46 | 65 | 65 | 65 | 92 | 92 | 92 | 122 | 122 | 135 | 176 | 176 | 294 | 294 | 294 | 294 | 467 | 467 | 526 | 720 | 540 | 120 |  |  |  |  | F2 | # | # | # | # | 626 | 626 | 680 | 680 | 680 | 680 | # | # | # | # | # | # | # | # | # | # | # |  | BXL Cab with 3 cond fan
ECW Wheel |  |  | 0 | 0 | 0 | y | 0 | [14 empty] | 14-15 | TYPE | Wt | 32-33 | TYPE | Wt | 17 | HP | Wt. |  |  |  | PRR | 92 | 92 | 92 | 122 | 122 | 122 | 135 | 135 | 176 | 176 | 176 | 294 | 294 | 294 | 467 | 467 | 467 | 526 | 661 | 661 | 746 | 780 | 600 | 150 |  |  |  |  | F3 | # | # | # | # | # | # | # | # | 1050 | 1050 | 1050 | 1050 | # | # | # | # | # | # | # | # | # |  | BXL Cab with 4 cond fan
Exhaust Blower | [5 empty] | y | 0 |  |  |  |  | Supply | x | y | z |  | Supply | x | y | z |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [25 empty] | 840 | 600 | 150 |  |  |  |  | F4 | # | # | # | # | # | # | # | # | 987 | 987 | 950 | # | # | # | # | # | # | # | # | # | # |  | CXL Cab with 2 cond fan
Receiver 1 |  | 23.575 | 105 | 17 | 9 | y | 0 |  |  |  |  | A | 51 | 38 | 43 |  | A | 87 | 38 | 40 |  | AA | 10 | 29.04 | AA | 10 | 29.04 | A | 1 | 34 |  |  |  | 6-row | [28 empty] | G2 | # | # | # | # | 626 | 626 | 700 | 700 | 700 | 700 | 838 | # | # | # | # | # | # | # | # | # | # |  | CXL Cab with 3 cond fan
Receiver 2 |  | 23.575 | 110 | 70 | 82 | y | 0 |  |  |  |  | B | 53 | 38 | 43 |  | B | 95 | 38 | 43 |  | AB | 11 | 29.04 | AB | 11 | 29.04 | B | 1.5 | 37.5 |  |  |  | PRO | 59 | 59 | 59 | 86 | 86 | 86 | 124 | 124 | 124 | 165 | 165 | 182 | 240 | 240 | 408 | 408 | 408 | 408 | 661 | 661 | 746 | [7 empty] | G3 | # | # | # | # | # | # | # | # | 1050 | 1050 | 1050 | 1050 | # | # | # | # | # | # | # | # | # |  | CXL Cab with 4 cond fan
[6 empty] | n | 0 |  |  |  |  | C | 65 | 38 | 43 |  | C | 110 | 38 | 43 |  | AC | 12 | 29.04 | AC | 12 | 29.04 | C | 2 | 40 |  |  |  | PRR | 124 | 124 | 124 | 165 | 165 | 165 | 182 | 182 | 240 | 240 | 240 | 408 | 408 | 408 | 484 | 661 | 661 | 746 | 661 | 661 | 746 | [7 empty] | G4 | # | # | # | # | # | # | # | # | 1114 | 1114 | 1114 | 1114 | 1114 | 1114 | # | # | # | # | # | # | # |  | CXL Cab with 6 cond fan
CWC |  |  | 60 | 55 | 54 | y | 0 |  |  |  |  | D | 101 | 48 | 46 |  | D | 171 | 48 | 46 |  | AD | 14 | 43.56 | AD | 14 | 43.56 | D | 3 | 69 | [32 empty] | G6 | # | # | # | # | # | # | # | # | # | # | # | 1316 | 1316 | 1316 | # | # | # | # | # | # | # |  | DXL Cab with 4 cond fan
HWC |  |  | 55 | 55 | 54 | y | 0 |  |  |  |  | E | 100 | 54 | 54 |  | E | 244 | 54 | 54 |  | AE | 16 | 53.24 | AE | 16 | 53.24 | E | 5 | 84 |  |  |  | HWC | 36 | 48 | 60 | 72 | 84 | 96 | 120 | 150 | 180 | 210 | 240 | 300 | 360 | 420 | 480 | 540 | 600 | 660 | 720 | 780 | 840 | [7 empty] | H4 | # | # | # | # | # | # | # | # | # | # | 1114 | 1114 | 1114 | 1114 | 1316 | # | # | # | # | # | # |  | DXL Cab with 6 cond fan
Heat Pump |  | 62.1 | 110 | 20 | 32 | y | 0 |  |  |  |  | F | 53 | 38 | 43 |  | F | 95 | 38 | 43 |  | AF | 18 | 62.92 | AF | 18 | 62.92 | F | 7.5 | 115 |  |  |  | PRO | 32 | 32 | 32 | 43 | 43 | 43 | 59 | 59 | 59 | 76 | 76 | 84 | 108 | 108 | 170 | 170 | 170 | 170 | 255 | 255 | 286 | [7 empty] | H6 | # | # | # | # | # | # | # | # | # | # | # | 1316 | 1316 | 1316 | 1472 | 1472 | 1472 | 1472 | # | # | # |  | DXL Cab with 6 oversized cond fan
Reheat/SC | RHSC | 400 | 75 | 55 | 54 | y | 0 |  |  |  |  | G | 65 | 38 | 43 |  | G | 110 | 38 | 43 |  | AG | 20 | 82.28 | AG | 20 | 82.28 | G | 10 | 128 |  |  |  | PRR | 59 | 59 | 59 | 76 | 76 | 76 | 84 | 84 | 108 | 108 | 108 | 170 | 170 | 170 | 212 | 255 | 255 | 286 | 661 | 661 | 746 | SheetMetal Short Weight | [6 empty] | H8 | # | # | # | # | # | # | # | # | # | # | # | # | # | # | 1754 | 1754 | 1754 | 1754 | # | # | # |  | EXL Cab with 6 cond fan
[6 empty] | y | 0 |  |  |  |  | H | 101 | 48 | 46 |  | H | 171 | 48 | 46 |  | AH | 22 | 106.48 | AH | 22 | 106.48 | H | 15 | 211 | [25 empty] | A | 135 | 3.3 | 445.5 |  |  |  | j4 | # | # | # | # | # | # | # | # | # | # | # | # | # | # | # | # | # | # | # | # | # |  | EXL Cab with 6 oversized cond fan
Sup Damper |  | 30 | 3 | 32 | 61 | y | 0 |  |  |  |  | J | 162 | 54 | 54 |  | J | 244 | 54 | 54 |  | AJ | 25 | 145.2 | AJ | 25 | 145.2 | J | 20 | 425 | [25 empty] | B | 180 | 3.8 | 684 |  |  |  | J6 | # | # | # | # | # | # | # | # | # | # | # | # | # | # | 1754 | 1754 | 1754 | 1754 | 1754 | 1754 | 1754
Ret Damp |  | 30 | 10 | 32 | 15 | y | 0 | [14 empty] | AK | 28 | 242 | AK | 28 | 242 | K | 25 | 450 |  |  |  | ELEC | kW |  |  | Furnace | [8 empty] | ECW | [8 empty] | C | 250 | 4.7 | 1175 |  |  |  | J8 | # | # | # | # | # | # | # | # | # | # | # | # | # | # | # | 2000 | 2000 | 2000 | 2000 | 2000 | 2000
Furnace | [5 empty] | y | [15 empty] | BA | 10 | 29.04 | BA | 10 | 29.04 | L | 30 | 500 |  |  |  | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 |  |  | 0 | 0 | 0 | [6 empty] | D | 541 | 3.5 | 1893.5
XL Furnace |  |  | 163 | 55 | 54 | y | 0 | [9 empty] | Exhaust | x | y | z |  | BB | 11 | 29.04 | BB | 11 | 29.04 | M | ECM | 0 |  |  |  | A | 5 | 10 |  | A1 | 75 | 65 |  | A1 | NA | 0 |  |  | A | 244 | 70 | [6 empty] | E | 1450 | 3.8 | 5510 |  | 232x100x108 | [23 empty] | A0 | A Cab with 0 cond fan
Elec Heater | 60kW | 70 | 162 | 54 | 34 | y | 0 | [9 empty] | A | 15 | 38 | 18 |  | BC | 12 | 29.04 | BC | 12 | 29.04 | X | 0 | 0 |  |  |  | B | 10 | 15 |  | B1 | 100 | 75 |  | B1 | NA | 0 |  |  | B | 324 | 160 | [35 empty] | B0 | B Cab with 0 cond fan
Refrigerant |  | 150 | 235 | 0 | 0 |  | 0 | [9 empty] | B | 18 | 38 | 20 |  | BD | 14 | 43.56 | BD | 14 | 43.56 | [6 empty] | C | 15 | 20 |  | C1 | 150 | 103 |  | C1 | NA | 0 |  |  | C | 364 | 200 | [6 empty] | SheetMetal Long Weight | [28 empty] | C0 | C Cab with 0 cond fan
Condenser Water |  | 120 | 240 | 64 | 45 |  | 0 | [9 empty] | C | 17.75 | 38 | 20 |  | BE | 16 | 53.24 | BE | 16 | 53.24 |  | FAN | Wt | MTR | Wt |  | D | 20 | 25 |  | D1 | 200 | 123 |  | D1 | NA | 0 |  |  | D | 424 | 210 | [6 empty] | A | 193 | 3.3 | 636.9 | [25 empty] | D0 | D Cab with 0 cond fan
CWC Water/Rfg. |  |  | 60 | 55 | 54 |  | 0 | [9 empty] | D | 36 | 48 | 25 |  | BF | 18 | 62.92 | BF | 18 | 62.92 |  | 10 | 6 | 1 | 34 |  | E | 25 | 30 |  | E1 | 250 | 158 |  | E1 | NA | 0 |  |  | E | 484 | 280 | [6 empty] | B | 241 | 3.8 | 915.8
HWC Water |  |  | 55 | 55 | 54 |  | 0 | [9 empty] | E | 25 | 60 | 30 |  | BG | 20 | 82.28 | BG | 20 | 82.28 |  | 11 | 6 | 1.5 | 37.5 |  | F | 30 | 35 |  | F1 | 300 | 179 |  | F1 | NA | 0 |  |  | F | 486 | 310 | [6 empty] | C | 330 | 4.7 | 1551 | [17 empty] | A Cab with 0 cond fan | [7 empty] | A1 | A Cab with 1 cond fan
|  |  | X | Y | Z | [11 empty] | F | 18 | 38 | 20 |  | BH | 22 | 106.48 | BH | 22 | 106.48 |  | 12 | 6 | 2 | 40 |  | G | 35 | 40 |  | G1 | 350 | 209 |  | G1 | NA | 0 |  |  | G | 544 | 330 | [6 empty] | D | 841 | 3.5 | 2943.5 | [17 empty] | B Cab with 0 cond fan | [7 empty] | A2 | A Cab with 2 cond fan
Shipping Unit |  | 9682.4732 | 112.3033 | 54.9853 | 63.219 |  | 0 | [9 empty] | G | 17.75 | 38 | 20 |  | BJ | 25 | 145.2 | BJ | 25 | 145.2 |  | 14 | 9 | 3 | 69 |  | H | 40 | 45 |  | H1 | 400 | 222 |  | H1 | NA | 0 |  |  | H | 604 | 460 | [6 empty] | E | 1800 | 4 | 7200 |  | 284x100x108 | [15 empty] | C Cab with 0 cond fan | [7 empty] | B1 | B Cab with 1 cond fan
Operating Unit |  | 9802.4732 | 113.9128 | 55.099 | 62.9894 |  | 0 | [9 empty] | H | 36 | 48 | 25 |  | BK | 28 | 242 | BK | 28 | 242 |  | 16 | 11 | 5 | 84 |  | J | 45 | 50 |  | J1 | 500 | 235 |  | A2 | 200 | 0 |  |  | J | 606 | 540 | [27 empty] | D Cab with 0 cond fan | [7 empty] | B2 | B Cab with 2 cond fan
|  | Length = | 201 | Width = | 100 | [11 empty] | J | 25 | 60 | 30 |  | CA | ECM | 242 | CA | ECM | 242 |  | 18 | 13 | 7.5 | 115 |  | K | 50 | 55 |  | K1 | 600 | 255 |  | B2 | 400 | 0 |  |  | K | 664 | 540 | [6 empty] | Cond. Dims | [8 empty] | Cabinet Outside Dims | [19 empty] | B3 | B Cab with 3 cond fan
Unit Type | Unit Size | Move XYZ--> | 0 | 0 | 0 | [16 empty] | CB | ECM | 242 | CB | ECM | 242 |  | 20 | 17 | 10 | 128 |  | L | 55 | 60 |  | A2 | 2x100 | 150 |  | C2 | 500 | 0 |  |  | L | 666 | 650 | [7 empty] | Short |  |  | Long | [5 empty] | Short |  |  | Long | [7 empty] | A Cab with 1 cond fan | [7 empty] | B4 | B Cab with 4 cond fan
0 | 0 | Move L--> | 0 | Move W--> | 0 | [16 empty] | CR | ECM | 242 | CR | ECM | 242 |  | 22 | 22 | 15 | 211 |  | M | 60 | 70 |  | B2 | 2x200 | 246 |  | D2 | 600 | 0 |  |  | M | 706 | 700 | [7 empty] | X | Y | Z | X | Y | Z |  |  |  | X | Y | Wi | X | Y | Wi | [5 empty] | A Cab with 2 cond fan | [7 empty] | C2 | C Cab with 2 cond fan
Shipping Corner Weight |  |  | Operating Corner Weight | [13 empty] | ECW | X | Y | Z |  | CD | ECM | 242 | CD | ECM | 242 |  | 25 | 30 | 20 | 225 |  | N | 70 | 80 |  | C2 | 2x250 | 500 |  | E2 | 800 | 0 |  |  | N | 724 | 670 | [6 empty] | a0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | a0 | 65 | 64 | 446 | 100 | 64 | 637 | [5 empty] | B Cab with 1 cond fan | [7 empty] | C3 | C Cab with 3 cond fan
| lbs | (kg) |  | lbs | (kg) | [11 empty] | A | 31 | 29 | 32 |  | CE | ECM | 242 | CE | ECM | 242 |  | 28 | 50 | 25 | 250 |  | P | 80 | 90 |  | D2 | 2x300 | 600 |  | XX | 0 | 0 |  |  | P | 726 | 700 | [6 empty] | b0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | b0 | 76 | 64 | 684 | 114 | 64 | 916 | [5 empty] | B Cab with 2 cond fan | [7 empty] | C4 | C Cab with 4 cond fan
LF | 1923.3218 | -872.4131 | LF | 1906.9985 | -865.0088 | 19.86% | [10 empty] | B | 34 | 33 | 32 |  | CF | ECM | 242 | CF | ECM | 242 |  | 32 | 59 | 30 | 300 |  | Q | 90 | 100 |  | E2 | 2x400 | 800 | [6 empty] | Q | 784 | 720 | [6 empty] | c0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | c0 | 90 | 64 | 1175 | 135 | 64 | 1551 | [5 empty] | B Cab with 3 cond fan | [7 empty] | C6 | C Cab with 6 cond fan
LB | 2349.3338 | -1065.6508 | LB | 2340.1153 | -1061.4693 | 24.26% | [10 empty] | C | 40 | 33 | 33 |  | CG | ECM | 242 | CG | ECM | 242 |  | 36 | 74 | ECM | 1 |  | R | 100 | 110 |  | F2 | 2x350 | 750 | [6 empty] | R | 786 | 880 | [6 empty] | d0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | d0 | 132 | 88 | 1950 | 200 | 88 | 2944 | [5 empty] | B Cab with 4 cond fan | [7 empty] | D4 | D Cab with 4 cond fan
RF | 2435.2115 | -1104.6047 | RF | 2494.4144 | -1131.459 | 25.15% | [10 empty] | D | 60 | 44 | 45 |  | CH | ECM | 242 | CH | ECM | 242 |  | 40 | 114 |  |  |  | S | 110 | 120 |  | G2 | 2x150 | 225 | [6 empty] | S | 7812 | 1900 | [6 empty] | e0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | e0 | 150 | 100 | 4095 | 232 | 100 | 4950 | [5 empty] | C Cab with 2 cond fan | [7 empty] | D6 | D Cab with 6 cond fan
RB | 2974.6061 | -1349.2725 | RB | 3060.945 | -1388.4355 | 30.72% | [10 empty] | E | 75 | 60 | 54 |  | CJ | ECM | 242 | CJ | ECM | 242 | [6 empty] | T | 120 | 130 |  | H2 | 2x500 | 1000 | [6 empty] | T | 844 | 810 | [6 empty] | a1 | 81 | 38 | 52 | 116 | 38 | 52 | 16 |  | a1 | 65 | 64 | 446 | 100 | 64 | 637 | [5 empty] | C Cab with 3 cond fan | [7 empty] | D8 | D Cab with 6 oversized cond fan
[17 empty] | F | 34 | 33 | 32 |  | CK | ECM | 242 | CK | ECM | 242 | [6 empty] | U | 130 | 140 |  | A4 | 4x200 | 1000 | [6 empty] | U | 846 | 1050 | [6 empty] | a2 | 90 | 38 | 52 | 125 | 38 | 52 | 25 |  | a2 | 65 | 64 | 446 | 100 | 64 | 637 | [5 empty] | C Cab with 4 cond fan | [7 empty] | E6 | E Cab with 6 cond fan
[17 empty] | G | 40 | 33 | 33 |  | CL | ECM | 242 | CL | ECM | 242 | [6 empty] | V | 140 | 150 |  | B4 | 4x250 | 1200 | [6 empty] | V | 8412 | 2250 | [6 empty] | b1 | 92 | 38 | 52 | 130 | 38 | 52 | 16 |  | b1 | 76 | 64 | 684 | 114 | 64 | 916 | [5 empty] | C Cab with 6 cond fan | [7 empty] | E8 | E Cab with 6 oversized cond fan
[17 empty] | H | 60 | 44 | 45 |  | CM | ECM | 242 | CM | ECM | 242 | [6 empty] | W | 150 | 160 |  | C4 | 4x300 | 1350 | [6 empty] | X | 0 | 0 | [6 empty] | b2 | 101 | 38 | 52 | 139 | 38 | 52 | 25 |  | b2 | 76 | 64 | 684 | 114 | 64 | 916 | [5 empty] | D Cab with 4 cond fan | [7 empty] | F1 | BXL Cab with 1 cond fan
[17 empty] | J | 75 | 60 | 54 |  | CN | ECM | 242 | CN | ECM | 242 | [6 empty] | X | 0 | 0 |  | D4 | 4x350 | 1450 | [15 empty] | b3 | 124 | 32 | 52 | 162 | 32 | 52 | 48 |  | b3 | 76 | 64 | 684 | 114 | 64 | 916 | [5 empty] | D Cab with 6 cond fan | [7 empty] | F2 | BXL Cab with 2 cond fan
| RHSC 6-Row Evap. 25 inch FAN; 15HP 60kW EXL Cab | [20 empty] | CP | ECM | 242 | CP | ECM | 242 | [10 empty] | E4 | 4x400 | 1600 | [15 empty] | b4 | 112 | 32 | 75 | 150 | 32 | 75 | 36 |  | b4 | 76 | 64 | 684 | 114 | 64 | 916 | [5 empty] | D Cab with 6 oversized cond fan | [7 empty] | F3 | BXL Cab with 3 cond fan
| PROW | Shipping Weight | Operating Weight | Center of Gravity |  |  | Corner Weights | [14 empty] | CQ | ECM | 242 | CQ | ECM | 242 | [6 empty] | HWC H2O |  |  |  | J2 | 2x600 | 1200 | [15 empty] | c2 | 109 | 38 | 60 | 154 | 38 | 60 | 19 |  | c2 | 90 | 64 | 1175 | 135 | 64 | 1551 | [5 empty] | E Cab with 6 cond fan | [7 empty] | F4 | BXL Cab with 4 cond fan
|  | lbs (kg) | lbs (kg) | X | Y | Z | LF | LB | RF | RB |  | Comp1 | X | Y | Z |  | Comp1 | X | Y | Z |  | DA | Dual ECM | 484 | DA | Dual ECM | 484 | [6 empty] | 36 | 19.28 | [20 empty] | c3 | 138 | 32 | 60 | 183 | 32 | 60 | 48 |  | c3 | 90 | 64 | 1175 | 135 | 64 | 1551 | [5 empty] | E Cab with 6 oversized cond fan | [7 empty] | G2 | CXL Cab with 2 cond fan
| 720 | 9680 | 9800 | 112.3033 | 54.9853 | 63.219 | 1910 | 2340 | 2490 | 3060 | 9800 | A | 52 | 9 | 17 |  | A | 88 | 9 | 17 |  | DB | Dual ECM | 484 | DB | Dual ECM | 484 | [6 empty] | 48 | 19.28 |  |  | A1 = 75 MBH | [17 empty] | c4 | 126 | 32 | 75 | 171 | 32 | 75 | 36 |  | c4 | 90 | 64 | 1175 | 135 | 64 | 1551 | [5 empty] | BXL Cab with 1 cond fan | [7 empty] | G3 | CXL Cab with 3 cond fan
|  | -4385.04 | -4439.4 | -2852.5029 | -1396.6274 | -1605.763 | -865.23 | -1060.02 | -1127.97 | -1386.18 |  | B | 53 | 9.5 | 17 |  | B | 91 | 9 | 17 |  | DC | Dual ECM | 484 | DC | Dual ECM | 484 | [6 empty] | 60 | 19.28 |  |  | B1 = 100 MBH | [17 empty] | c6 | 139 | 32 | 75 | 184 | 32 | 75 | 49 |  | c6 | 90 | 64 | 1175 | 135 | 64 | 1551 | [5 empty] | BXL Cab with 2 cond fan | [7 empty] | G4 | CXL Cab with 4 cond fan
| * Corner weights along the main cabinet. |  |  |  | Approx. Main Cabinet LXW: 205 X 100 |  |  |  |  | 2016-11-11 |  | C | 65 | 9 | 17 |  | C | 104 | 9 | 17 |  | DD | Dual ECM | 484 | DD | Dual ECM | 484 | [6 empty] | 72 | 22.76 |  |  | C1 = 150 MBH | [17 empty] | d4 | 168 | 44 | 75 | 236 | 44 | 75 | 36 |  | d4 | 132 | 88 | 1950 | 200 | 88 | 2944 | [5 empty] | BXL Cab with 3 cond fan | [7 empty] | G6 | CXL Cab with 6 cond fan
[12 empty] | D | 97 | 12 | 32 |  | D | 164 | 12 | 32 |  | DE | Dual ECM | 484 | DE | Dual ECM | 484 | [6 empty] | 84 | 26 |  |  | D1 = 200 MBH | [17 empty] | d6 | 181 | 44 | 75 | 249 | 44 | 75 | 49 |  | d6 | 132 | 88 | 1950 | 200 | 88 | 2944 | [5 empty] | BXL Cab with 4 cond fan | [7 empty] | H4 | DXL Cab with 4 cond fan
[12 empty] | E | 93 | 40 | 32 |  | E | 185 | 20 | 32 |  | DF | Dual ECM | 484 | DF | Dual ECM | 484 | [6 empty] | 96 | 30.44 |  |  | E1 = 250 MBH | [8 empty] | 0= None | [8 empty] | d8 | 191 | 44 | 75 | 259 | 44 | 75 | 59 |  | d8 | 132 | 88 | 1950 | 200 | 88 | 2944 | [5 empty] | CXL Cab with 2 cond fan | [7 empty] | H6 | DXL Cab with 6 cond fan
[12 empty] | F | 53 | 9.5 | 17 |  | F | 91 | 9 | 17 |  | DG | Dual ECM | 484 | DG | Dual ECM | 484 | [6 empty] | 120 | 31.88 |  |  | F1 = 300 MBH | [8 empty] | A= ECW 244 w/2" filters | [8 empty] | e4 | 0 | [7 empty] | e4 | [11 empty] | CXL Cab with 3 cond fan | [7 empty] | H8 | DXL Cab with 6 oversized cond fan
|  | A0 | A0 | AL | RHX1 | [6 empty] | G | 65 | 9 | 17 |  | G | 104 | 9 | 17 |  | DH | Dual ECM | 484 | DH | Dual ECM | 484 | [6 empty] | 150 | 36.92 |  |  | G1 = 350 MBH | [8 empty] | B= ECW 324 w/2" filters | [8 empty] | e6 | 199 | 50 | 90 | 281 | 50 | 90 | 49 |  | e6 | 150 | 100 | 5510 | 232 | 100 | 7200 | [5 empty] | CXL Cab with 4 cond fan | [7 empty] | J6 | EXL Cab with 6 cond fan
|  | B0 | B0 | AM | RHx2 | [6 empty] | H | 97 | 12 | 32 |  | H | 164 | 12 | 32 |  | DK | Dual ECM | 484 | DK | Dual ECM | 484 | [6 empty] | 180 | 48.52 |  |  | H1 = 400 MBH | [8 empty] | C= ECW 364 w/2" filters | [8 empty] | e8 | 209 | 50 | 90 | 291 | 50 | 90 | 59 |  | e8 | 150 | 100 | 5510 | 232 | 100 | 7200 | [5 empty] | CXL Cab with 6 cond fan | [7 empty] | J8 | EXL Cab with 6 oversized cond fan
|  | C0 | C0 | AN | SCx1 | [6 empty] | J | 100 | 20 | 32 |  | J | 185 | 20 | 32 |  | EA | 2x14" | 39.6 | EA | 2x14" | 87.12 | [6 empty] | 210 | 52.28 |  |  | J1 = 500 MBH | [8 empty] | D= ECW 424 w/2" filters | [8 empty] | f1 | 126 | 38 | 52 | 163 | 38 | 52 | 16 |  | f1 | 110 | 64 | 958 | 147 | 64 | 1190 | [5 empty] | DXL Cab with 4 cond fan
|  | D0 | D0 | BC | RHx1 | [16 empty] | EB | 2x14" | 39.6 | EB | 2x14" | 87.12 | [6 empty] | 240 | 57.48 |  |  | K1 = 600 MBH | [8 empty] | E= ECW 484 w/2" filters | [8 empty] | f2 | 135 | 38 | 52 | 172 | 38 | 52 | 25 |  | f2 | 110 | 64 | 958 | 147 | 64 | 1190 | [5 empty] | DXL Cab with 6 cond fan
|  | E0 | E0 | BD | SCx1 | [16 empty] | EC | 2x16" | 48.4 | EC | 2x16" | 106.48 | [6 empty] | 300 | 76.56 |  |  | A2 = 100+100 MBH | [8 empty] | F= ECW 486 w/2" filters | [8 empty] | f3 | 158 | 32 | 52 | 195 | 32 | 52 | 48 |  | f3 | 110 | 64 | 958 | 147 | 64 | 1190 | [5 empty] | DXL Cab with 6 oversized cond fan
|  | A1 | A1 | BG | RHx1 | [6 empty] | Comp2 | X | Y | Z |  | Comp2 | X | Y | Z |  | ED | 2x16" | 48.4 | ED | 2x16" | 106.48 | [6 empty] | 360 | 76.56 |  |  | G2 = 150+150 MBH | [8 empty] | G= ECW 544 w/2" filters | [8 empty] | f4 | 146 | 32 | 75 | 183 | 32 | 75 | 36 |  | f4 | 110 | 64 | 958 | 147 | 64 | 1190 | [5 empty] | EXL Cab with 6 cond fan
|  | A2 | A2 | BH | SCx1 | [6 empty] | A | 0 | 0 | 0 |  | A | 0 | 0 | 0 |  | EE | 2x18" | 57.2 | EE | 2x18" | 125.84 | [6 empty] | 420 | 81.76 |  |  | B2 = 200+200 MBH | [8 empty] | H= ECW 604 w/2" filters | [8 empty] | g2 | 161 | 38 | 60 | 206 | 38 | 60 | 19 |  | g2 | 142 | 64 | 1582 | 187 | 64 | 1958 | [5 empty] | EXL Cab with 6 oversized cond fan
|  | B1 | B1 | CC | RHx2 | [6 empty] | B | 63 | 9.5 | 17 |  | B | 101 | 9 | 17 |  | EF | 2x18" | 57.2 | EF | 2x18" | 125.84 | [6 empty] | 480 | 91 |  |  | C2 = 250+250 MBH | [8 empty] | J= ECW 606 w/2" filters | [8 empty] | g3 | 190 | 32 | 60 | 235 | 32 | 60 | 48 |  | g3 | 142 | 64 | 1582 | 187 | 64 | 1958
|  | B2 | B2 | CD | SCx1 | [6 empty] | C | 78 | 9 | 17 |  | C | 120 | 9 | 19 |  | EG | 2x20" | 74.8 | EG | 2x20" | 164.56 | [6 empty] | 540 | 101 |  |  | D2 = 300+300 MBH | [8 empty] | K= ECW 664 w/2" filters | [8 empty] | g4 | 178 | 32 | 75 | 223 | 32 | 75 | 36 |  | g4 | 142 | 64 | 1582 | 187 | 64 | 1958
|  | B3 | B3 | CH | RHx2 | [6 empty] | D | 113 | 12 | 32 |  | D | 180 | 12 | 32 |  | EH | 2x20" | 74.8 | EH | 2x20" | 164.56 | [6 empty] | 600 | 111 |  |  | F2 = 350+350 MBH | [8 empty] | L= ECW 666 w/2" filters | [8 empty] | g6 | 191 | 32 | 75 | 236 | 32 | 75 | 49 |  | g6 | 142 | 64 | 1582 | 187 | 64 | 1958
|  | B4 | B4 | CJ | SCx1 | [6 empty] | E | 130 | 40 | 32 |  | E | 185 | 20 | 32 |  | XX | 0 | 0 | XX | 0 | 0 | [6 empty] | 660 | 121 |  |  | E2 = 400+400 MBH | [8 empty] | M= ECW 706 w/2" filters | [8 empty] | h4 | 238 | 44 | 75 | 305 | 44 | 75 | 36 |  | h4 | 202 | 88 | 3017 | 269 | 88 | 4067
|  | C2 | C2 | DA | SCx1 | [6 empty] | F | 75 | 9.5 | 17 |  | F | 113 | 9 | 17 | [13 empty] | 720 | 162.28 |  |  | H2 = 500+500MBH | [8 empty] | N= ECW 724 w/2" filters | [8 empty] | h6 | 251 | 44 | 75 | 318 | 44 | 75 | 49 |  | h6 | 202 | 88 | 3017 | 269 | 88 | 4067
|  | C3 | C3 | DB | SCx1 | [6 empty] | G | 96 | 9 | 17 |  | G | 138 | 9 | 19 | [13 empty] | 780 | 162 |  |  | J2 = 600+600MBH | [8 empty] | P= ECW 702 w/2" filters | [8 empty] | h8 | 261 | 44 | 75 | 328 | 44 | 75 | 59 |  | h8 | 202 | 88 | 3017 | 269 | 88 | 4067
|  | C4 | C4 | DC | RHSC | [6 empty] | H | 137 | 12 | 32 |  | H | 204 | 12 | 32 | [13 empty] | 840 | 162 |  |  | A4 = (4) 200 MBH | [8 empty] | Q= ECW 784 w/2" filters | [8 empty] | j4 | 0 | [7 empty] | j4
|  | C6 | C6 | DD | SCx1 | [6 empty] | J | 180 | 20 | 32 |  | J | 260 | 20 | 32 | [17 empty] | B4 = (4) 250 MBH | [8 empty] | R= ECW 786 w/2" filters | [8 empty] | j6 | 250 | 50 | 90 | 333 | 50 | 90 | 49 |  | j6 | 201 | 100 | 5510 | 284 | 100 | 7200
|  | D4 | D4 | DE | SCx1 | [32 empty] | C4 = (4) 300 MBH | [8 empty] | S= ECW 7812 w/2" filters | [8 empty] | j8 | 260 | 50 | 90 | 343 | 50 | 90 | 59 |  | j8 | 201 | 100 | 5510 | 284 | 100 | 7200
|  | D6 | D6 | DF | SCx1 | [32 empty] | D4 = (4) 350 MBH | [8 empty] | T= ECW 844 w/2" filters | [8 empty] | F0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | F0 | 110 | 64 | 958 | 147 | 64 | 1190
|  | D8 | D8 | DG | SCx1 | [6 empty] | WC | X | Y | Z |  | WC | X | Y | Z | [17 empty] | E4 = (4) 400 MBH | [8 empty] | U= ECW 846 w/2" filters | [8 empty] | G0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | G0 | 142 | 64 | 1582 | 187 | 64 | 1958
|  | E6 | E6 | DH | RHSC | [6 empty] | A | 70 | 14 | 35 |  | A | 105 | 14 | 37 | [26 empty] | V= ECW 8412 w/2" filters | [8 empty] | H0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | H0 | 202 | 88 | 3017 | 269 | 88 | 4067
|  | E8 | E8 | DJ | SCx1 | [6 empty] | B | 82 | 13 | 43 |  | B | 119 | 13 | 43 | [26 empty] | X= Applied Special | [8 empty] | J0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | J0 | 201 | 100 | 5510 | 284 | 100 | 7200
|  | F1 | B1XL | DK | SCx1 | [6 empty] | C | 96.25 | 21.5 | 44.5 |  | C | 140.5 | 21 | 45
|  | F2 | B2XL | [8 empty] | D | 148 | 44 | 45 |  | D | 215 | 44 | 45
|  | F3 | B3XL | [8 empty] | E | 182 | 64 | 45 |  | E | 268 | 64 | 45
|  | F4 | B4XL | [8 empty] | F | 104 | 13 | 43 |  | F | 153 | 13 | 43
|  | G2 | C2XL | [8 empty] | G | 148.25 | 21.5 | 44.5 |  | G | 192.5 | 21 | 45
|  | G3 | C3XL | [8 empty] | H | 208 | 44 | 45 |  | H | 275 | 44 | 45
|  | G4 | C4XL | [8 empty] | J | 240 | 64 | 45 |  | J | 320 | 64 | 45
|  | G6 | C6XL
|  | H4 | D4XL
|  | H6 | D6XL | [8 empty] | SheetMetal Short | X | Y | Z |  | SheetMetal Long | X | Y | Z
|  | H8 | D8XL | [8 empty] | A | 36 | 32 | 45 |  | A | 60 | 32 | 45
|  | J6 | E6XL | [8 empty] | B | 38 | 32 | 45 |  | B | 70 | 32 | 45
|  | J8 | E8XL | [8 empty] | C | 38 | 32 | 45 |  | C | 80 | 32 | 45
|  | F0 | BXL | [8 empty] | D | 55 | 44 | 65 |  | D | 118 | 44 | 65
|  | G0 | CXL | [8 empty] | E | 75 | 65 | 77 |  | E | 100 | 65 | 77
|  | H0 | DXL | [8 empty] | F | 55 | 32 | 45 |  | F | 87 | 32 | 45
|  | J0 | EXL | [8 empty] | G | 64 | 32 | 45 |  | G | 106 | 32 | 45
[12 empty] | H | 86 | 44 | 45 |  | H | 153 | 44 | 45
[12 empty] | J | 102 | 65 | 77 |  | J | 160 | 65 | 77
[12 empty] | Furnace Short | X | Y | Z |  | Furnace Long | X | Y | Z
[12 empty] | A | 51 | 45 | 43 |  | A | 87 | 45 | 40 |  |  |  | XL Dims from DAVE
[12 empty] | B | 53 | 45 | 43 |  | B | 95 | 45 | 43 |  |  |  | XL Furnace | X | Y | Z |  | LBS
[12 empty] | C | 65 | 45 | 43 |  | C | 110 | 45 | 43 |  |  |  | A | # | # | # |  | #
[12 empty] | D | 101 | 48 | 46 |  | D | 171 | 48 | 46 |  |  |  | B | 35 | 64 | 64 | 3.3 | 273.7778
[12 empty] | E | 100 | 25 | 54 |  | E | 185 | 58 | 54 |  |  |  | C | 52 | 64 | 64 | 3.3 | 406.7556
[12 empty] | F | 68.5 | 45 | 45 |  | F | 112.5 | 45 | 45 |  |  |  | D | 68.5 | 88 | 92 | 3.5 | 1123.2731
[12 empty] | G | 79 | 45 | 45 |  | G | 136 | 45 | 45 |  |  |  | E | 72 | 100 | 108 | 3.5 | 1575
[12 empty] | H | 99.25 | 55 | 45 |  | H | 205.25 | 55 | 45
[12 empty] | J | 163 | 55 | 54 |  | J | 245 | 55 | 54

## Instructions
1. Get codestring from YOUR ACE PROJECT Schedule OR PRICING SCREEN
2. Double click the yellow cell.
3. Paste codestring and press ENTER