## LI Regular Parts
|  |  | P.O. # |  |  | Sheet
Requested ship date
CA East - Spring 2018 Preseason Parts Promotion Order Form
|  |  |  | 0.5 |  | 0.46
Part Number | Description | Qty | 2018 CA Jan List | 2018 Reg Net | 2018 Reg Tot | 2018 Promo Net | 2018 CA Promo Total
01310902 | Pilot Switch - CRV 4-40 |  | 194.3041 | 97.152 | 0 | 89.3799 | 0
01311702 | Pump Accessory Replacement Package |  | 24.9503 | 12.4752 | 0 | 11.4771 | 0
01312102 | Mounting Angle Assembly |  | 128.2355 | 64.1178 | 0 | 58.9883 | 0
01312200 | Bird Screen 4" with Clamp |  | 49.4783 | 24.7391 | 0 | 22.76 | 0
01312401 | Filter Cartridge (1) with Gasket Set - CRV A, B, E, 4-40, 5-40 |  | 25.2376 | 12.6188 | 0 | 11.6093 | 0
01312401-24P | Filter Cartridge with Gasket Set - Box of 24 - CRV A, B, E, 4-40, 5-40 |  | 575.3132 | 287.6566 | 0 | 264.6441 | 0
01313701 | Pilot Switch - CRV A, 5-40, 6-60 |  | 194.6221 | 97.3111 | 0 | 89.5262 | 0
01313800 | Damper Assembly - Pump |  | 73.0963 | 36.5481 | 0 | 33.6243 | 0
01315000 | Filter Support Assembly |  | 36.7044 | 18.3522 | 0 | 16.884 | 0
01316601K | Spark Generator Kit |  | 170.7069 | 85.3535 | 0 | 78.5252 | 0
01320200 | Spark Plug Package (For 4-40, P/N 01357000 must also be ordered.) |  | 79.548 | 39.774 | 0 | 36.5921 | 0
01320700 | Ignition Cable Assembly |  | 82.3847 | 41.1923 | 0 | 37.8969 | 0
01326700 | Wire Harness with Socket (Soon to be obsolete) |  | 106.5464 | 53.2732 | 0 | 49.0113 | 0
01327007 | Refill, Condensate Neutralization Tube 600 MBH |  | 137.7726 | 68.8863 | 0 | 63.3754 | 0
01327008 | Refill, Condensate Neutralization Tube 1000 MBH |  | 149.3501 | 74.675 | 0 | 68.701 | 0
01327009 | Refill, Condensate Neutralization Tube 2000 MBH |  | 167.8741 | 83.9371 | 0 | 77.2221 | 0
01327401 | Pump Inlet Plate Assembly Replacement |  | 568.8901 | 284.445 | 0 | 261.6894 | 0
01327500 | Restrictor Assembly Pump |  | 22.3947 | 11.1974 | 0 | 10.3016 | 0
01329500 | Damper Support Assembly |  | 34.0828 | 17.0414 | 0 | 15.6781 | 0
01329700 | Slide Bar for Tube Coupling |  | 19.2987 | 9.6494 | 0 | 8.8774 | 0
01330000 | Pilot Shield Assembly |  | 57.3632 | 28.6816 | 0 | 26.3871 | 0
01332600 | Ceramic Block - Grid Package |  | 71.3502 | 35.6751 | 0 | 32.8211 | 0
01332700 | Ceramic Block - Grid Package - For 6-60 Only |  | 119.2478 | 59.6239 | 0 | 54.854 | 0
01335501 | Universal Relay Replacement Package |  | 91.7517 | 45.8759 | 0 | 42.2058 | 0
01351100 | Gasket - Burner to Mixing Chamber |  | 7.4438 | 3.7219 | 0 | 3.4241 | 0
01351200 | Gasket - Viewer (2 Required, use with P/N 01390203) |  | 5.409 | 2.7045 | 0 | 2.4881 | 0
01356400 | Gasket - Burner to Combustion Chamber |  | 9.6494 | 4.8247 | 0 | 4.4387 | 0
01357000 | Washer - Brass |  | 1.745 | 0.87251 | 0 | 0.80271 | 0
01361200 | Support Disk - Filter |  | 2.6834 | 1.3417 | 0 | 1.2344 | 0
01362500 | Housing - Blower |  | 218.3515 | 109.1757 | 0 | 100.4417 | 0
01365000 | Mounting Angle, Wall |  | 9.636 | 4.818 | 0 | 4.4326 | 0
01367602 | End Vent Plate CRV A-2 |  | 39.7038 | 19.8519 | 0 | 18.2638 | 0
01367604 | End Vent Plate CRV 2-4 |  | 39.7038 | 19.8519 | 0 | 18.2638 | 0
01367606 | End Vent Plate CRV 6-9 |  | 39.5532 | 19.7766 | 0 | 18.1945 | 0
01367608 | End Vent Plate CRV 8-10-12 |  | 39.5532 | 19.7766 | 0 | 18.1945 | 0
01367800 | Gasket - Burner to Combustion Chamber |  | 10.0938 | 5.0469 | 0 | 4.6432 | 0
01370200 | Ground Strap |  | 3.9095 | 1.9547 | 0 | 1.7984 | 0
01390200 | Ring - Viewer, Unpainted Flat for Cast Iron Comb Chamber |  | 31.2456 | 15.6228 | 0 | 14.373 | 0
01394401 | Pump Scroll EP-200 |  | 337.4522 | 168.7261 | 0 | 155.228 | 0
01394600 | Impeller - 1/2" Bore |  | 398.1973 | 199.0987 | 0 | 183.1708 | 0
01394602 | Impeller - 5/8" Bore |  | 420.8065 | 210.4033 | 0 | 193.571 | 0
01397400 | Bird Screen 6 in. (15 cm) |  | 45.8625 | 22.9312 | 0 | 21.0967 | 0
02510801 | Pilot Switch - 75, 75A |  | 194.5806 | 97.2903 | 0 | 89.5071 | 0
02517400-P | Motor/Blower Assembly |  | 490.6106 | 245.3053 | 0 | 225.6809 | 0
02517401-P | Motor/Blower Assembly |  | 578.3609 | 289.1804 | 0 | 266.046 | 0
02521100 | Wire Harness with Socket |  | 55.4734 | 27.7367 | 0 | 25.5178 | 0
02521500 | Ignition Cable Assembly |  | 54.1339 | 27.067 | 0 | 24.9016 | 0
02522700 | Burner Sub Assembly 75-A |  | 499.8507 | 249.9254 | 0 | 229.9313 | 0
02553200 | Viewer Window (use with P/N 01390203) |  | 1.3623 | 0.68113 | 0 | 0.62664 | 0
02553203 | Viewer Window Assembly (push-in, new style) |  | 2.7753 | 1.3877 | 0 | 1.2767 | 0
02558501 | Gasket - Electrode |  | 1.5615 | 0.78073 | 0 | 0.71827 | 0
02568200 | Gasket - Burner to Transition Tube |  | 4.9625 | 2.4813 | 0 | 2.2828 | 0
02713000 | Burner Head Assembly Replacement (includes electrode and gasket intalled) |  | 207.8934 | 103.9467 | 0 | 95.631 | 0
02713100 | Ceramic Block & Grid |  | 41.5934 | 20.7967 | 0 | 19.133 | 0
02713200 | Electrode Replacement |  | 54.1717 | 27.0858 | 0 | 24.919 | 0
02713700 | Mica Window Package - 6-60 Chamber |  | 21.0264 | 10.5132 | 0 | 9.6722 | 0
02713701 | Mica Window Package - Cast Iron |  | 23.618 | 11.809 | 0 | 10.8643 | 0
02719901 | Adapter - Inlet - 8.0" x 4.0" |  | 183.4406 | 91.7203 | 0 | 84.3827 | 0
02719902 | Adapter - Inlet - 8.0" x 6.0" |  | 183.4406 | 91.7203 | 0 | 84.3827 | 0
02719903 | Adapter - 4" x 6" (10 cm x 15 cm) |  | 132.7392 | 66.3696 | 0 | 61.06 | 0
02720401 | Wire Harness (Burners before 8/92) |  | 33.7452 | 16.8726 | 0 | 15.5228 | 0
02724200 | Inlet Flange |  | 306.078 | 153.039 | 0 | 140.7959 | 0
02724901 | Door - Filter |  | 27.8453 | 13.9227 | 0 | 12.8088 | 0
02725200 | Wire Harness (Burners after 8/92) |  | 58.7233 | 29.3617 | 0 | 27.0127 | 0
02725300 | Regulator Replacement Kit |  | 285.7624 | 142.8812 | 0 | 131.4507 | 0
02757001 | Blower Housing (Painted) |  | 240.7012 | 120.3506 | 0 | 110.7226 | 0
02757500 | Housing - Blower |  | 6.4599 | 3.2299 | 0 | 2.9716 | 0
02771000 | Boot Repl. Kit - CRV A,B,4-40,5-40 (Incl. one 4.5"x8.0" boot and two rubber spacers) |  | 66.3935 | 33.1968 | 0 | 30.541 | 0
02790400 | Mixing Chamber |  | 40.509 | 20.2545 | 0 | 18.6341 | 0
02791601 | Impeller - 5/8" Bore |  | 311.8492 | 155.9246 | 0 | 143.4507 | 0
03020100 | Burner Cup Assembly |  | 89.9873 | 44.9936 | 0 | 41.3941 | 0
03050800 | Inlet Screen - CTH2(D)(V), HE(D)(V), AG, CTH3-80, 115 & TF-120, 160 |  | 13.1156 | 6.5578 | 0 | 6.0332 | 0
03050900 | Blower Inlet Gasket - CTH2(D)(V)/HE(D)(V)/AG/CTH2/TF-120 & CTH3-80, 115 |  | 5.4705 | 2.7352 | 0 | 2.5164 | 0
03090900 | Wire Jumper |  | 3.2283 | 1.6141 | 0 | 1.485 | 0
03200100 | Gasket - Valve, HE, HED, HEV |  | 2.746 | 1.373 | 0 | 1.2632 | 0
03600051 | Burner Cup Assembly, CTH2D, HED, CTHND, AG |  | 45.34 | 22.67 | 0 | 20.8564 | 0
03700009 | Combustion Ait Weather Vent Cap - HED |  | 28.5 | 14.25 | 0 | 13.11 | 0
07720000-P | Fan Assembly Package, NP-40-150 |  | 863.3981 | 431.699 | 0 | 397.1631 | 0
07721000-P | Fan Assembly Package, NP-175 & 200 |  | 762.2138 | 381.1069 | 0 | 350.6184 | 0
08031500 | Flue Collar Assy |  | 47.9922 | 23.9961 | 0 | 22.0764 | 0
08036000 | Vent Termination Assy CARIBE® 2 in. (Bird Screen) |  | 15.8744 | 7.9372 | 0 | 7.3022 | 0
08070000 | Gasket - Burner Tube - CGTH |  | 10.0674 | 5.0337 | 0 | 4.631 | 0
08080000 | CGTH Hanger - U-tube End |  | 18.9329 | 9.4665 | 0 | 8.7091 | 0
08090000 | CGTH Reflector 80 in. |  | 97.5435 | 48.7717 | 0 | 44.87 | 0
08090001 | CGTH Reflector 120 in. |  | 114.6962 | 57.3481 | 0 | 52.7602 | 0
08115100 | Door Gasket |  | 6.4719 | 3.2359 | 0 | 2.9771 | 0
08117000 | Burner Cup Assembly |  | 198.1761 | 99.088 | 0 | 91.161 | 0
09050000 | Screen - Blower Inlet TF-160, 200, 250, 300, 350 and 380 |  | 7.6731 | 3.8366 | 0 | 3.5296 | 0
09050001 | Inlet Screen - CTH3-150, 200 |  | 67.4542 | 33.7271 | 0 | 31.0289 | 0
09060000 | Gasket - Blower Inlet TF |  | 6.1563 | 3.0782 | 0 | 2.8319 | 0
09080000 | Sleeve, TF |  | 18.876 | 9.438 | 0 | 8.683 | 0
10061001 | Control Board, Modulating Controller, OEM I/O 812U |  | 3566.0661 | 1783.033 | 0 | 1640.3904 | 0
10061002 | Touchscreen, Modulating Controller |  | 3190.6907 | 1595.3453 | 0 | 1467.7177 | 0
10061004 | Circuit Breaker, Single-Pole 115v VFD |  | 68.8438 | 34.4219 | 0 | 31.6682 | 0
10061005 | Circuit Breaker, Two-Pole |  | 149.3994 | 74.6997 | 0 | 68.7237 | 0
10061006 | Circuit Breaker, Three-Pole |  | 220.3453 | 110.1727 | 0 | 101.3589 | 0
10061007 | Circuit Breaker, Control Power 120v, Modulating Controller |  | 68.8438 | 34.4219 | 0 | 31.6682 | 0
10061008 | Disconnect Assembly, 30 Amp, Modulating Controller |  | 226.3514 | 113.1757 | 0 | 104.1216 | 0
10061009 | Transformer, Modulating Controller, 120v to 24v |  | 149.1742 | 74.5871 | 0 | 68.6201 | 0
10061010 | LED Amber Light, Modulating Controller, 24 AC/DC 14 mm |  | 63.8138 | 31.9069 | 0 | 29.3544 | 0
10061011 | Relay, SPDT, 6 Amp, Modulating Controller |  | 134.6096 | 67.3048 | 0 | 61.9204 | 0
10061201 | VFD, Modulating Controller - .75 / 1 HP 115v |  | 1108.9189 | 554.4595 | 0 | 510.1027 | 0
10061202 | VFD, Modulating Controller - .75 / 1 HP 230v 1ph |  | 1165.4054 | 582.7027 | 0 | 536.0865 | 0
10061203 | VFD, Modulating Controller - 2 HP 230v 1ph |  | 1557.8378 | 778.9189 | 0 | 716.6054 | 0
10061204 | VFD, Modulating Controller - .75 / 1 HP 460v 3ph |  | 1430.5405 | 715.2703 | 0 | 658.0486 | 0
10061205 | VFD, Modulating Controller - 2 HP 460v 3ph |  | 1756.7568 | 878.3784 | 0 | 808.1081 | 0
10061206 | VFD, Modulating Controller - .75 / 1 HP 230v 3ph |  | 1430 | 715 | 0 | 657.8 | 0
10061207 | VFD, Modulating Controller - 2 HP 230v 3ph |  | 1761.4865 | 880.7432 | 0 | 810.2838 | 0
10080104 | Control Board 150-2, ULTRAVAC™, 1 Pump 3 Zones (after 6/13/08) |  | 3188.8158 | 1594.4079 | 0 | 1466.8553 | 0
10080110 | Wire Harness URV 150-2 Control Board (For URV made June ’07 – Aug. ’13) |  | 287.946 | 143.973 | 0 | 132.4552 | 0
10080111 | Wire Harness URV 150-2 Control Board (For URV made September ’13 – Feb ’15) |  | 246.4116 | 123.2058 | 0 | 113.3493 | 0
10080112 | Wire Harness URV Relay Board (For URV made July ’07 – Feb. ’15) |  | 283.0704 | 141.5352 | 0 | 130.2124 | 0
10080121 | Eprom Chip, ULTRAVAC™, 1 Pump 3 Zones - 100 Board (before 6/13/08) |  | 225.385 | 112.6925 | 0 | 103.6771 | 0
10080122 | Eprom Chip, ULTRAVAC™, 1 Pump 3 Zones - 150 Board (after 6/13/08) |  | 225.385 | 112.6925 | 0 | 103.6771 | 0
10080141 | Output Board, Plug-In Analog |  | 405.0022 | 202.5011 | 0 | 186.301 | 0
10080201 | Relay Board ULTRAVAC™ |  | 2864.568 | 1432.284 | 0 | 1317.7013 | 0
10080210 | 7A Fuse (For URV Relay Board made after 2/23/15) |  | 8.16 | 4.08 | 0 | 3.7536 | 0
10080211 | 1A Fuse (For URV Relay Board made before 2/23/15) |  | 2.4664 | 1.2332 | 0 | 1.1345 | 0
10080212 | Relay, 24VDC 10A Plug-In (For URV made before 2/23/15) |  | 80.6755 | 40.3378 | 0 | 37.1107 | 0
10080213 | Relay, 24VDC 10A Plug-In (For URV made after 2/23/15) |  | 110.2518 | 55.1259 | 0 | 50.7158 | 0
10080445 | Repeater Replacement Board |  | 2425 | 1212.5 | 0 | 1115.5 | 0
10081201 | Drive, Variable Frequency, 1 HP, 120V, 1PH Input |  | 1836.5535 | 918.2767 | 0 | 844.8146 | 0
10081202 | Drive, Variable Frequency, .75 HP, 230V, 1PH Input |  | 1547.8725 | 773.9362 | 0 | 712.0213 | 0
10081203 | Drive, Variable Frequency, 2 HP, 230V, 1PH Input |  | 1836.5577 | 918.2789 | 0 | 844.8166 | 0
10081204 | Drive, Variable Frequency, 1 HP, 460V, 3PH Input |  | 1309.68 | 654.84 | 0 | 602.4528 | 0
10081205 | Drive, Variable Frequency, 2 HP, 460V, 3PH Input |  | 1738.9514 | 869.4757 | 0 | 799.9176 | 0
10081610 | Module, BMS Link |  | 2302.8719 | 1151.4359 | 0 | 1059.3211 | 0
10081620 | 5-Port 10/100 Fast Ethernet Switch |  | 293.7577 | 146.8789 | 0 | 135.1286 | 0
10081630 | Supervisor Board |  | 1600.9207 | 800.4603 | 0 | 736.4235 | 0
10081640 | NetBurner Module |  | 1600.9207 | 800.4603 | 0 | 736.4235 | 0
10081650 | Track mount Circuit Breaker |  | 67.2457 | 33.6229 | 0 | 30.933 | 0
10081660 | Transformer, BMS Link T1 |  | 211.1752 | 105.5876 | 0 | 97.1406 | 0
10081661 | Transformer, Repeater |  | 211.1752 | 105.5876 | 0 | 97.1406 | 0
10081670 | Power Supply PS1 |  | 228.8715 | 114.4357 | 0 | 105.2809 | 0
10081680 | Memory Card, BMS Link |  | 108.537 | 54.2685 | 0 | 49.927 | 0
10081690 | Micro Fuse |  | 53.0887 | 26.5444 | 0 | 24.4208 | 0
10090101 | Ctrl Board - CRV Heating Control, Sept '16 - Present; System Controller '09-'16 Only |  | 723.2693 | 361.6346 | 0 | 332.7039 | 0
10091200 | System Control Chip and Fuse Replacement Kit (1999-2008 only) |  | 29.3301 | 14.665 | 0 | 13.4918 | 0
90032000 | Gas Valve - Main (Burners before 8/92) |  | 329.5661 | 164.783 | 0 | 151.6004 | 0
90032500 | Gas Valve - Natural - ET3, ER, GRNP, CTH2 Before 11/98 |  | 259.8575 | 129.9288 | 0 | 119.5345 | 0
90032502 | Gas Valve - LP - ET3, ER, GRNP, CTH2 Before 11/98 ;NG & LP for CRV |  | 259.8575 | 129.9288 | 0 | 119.5345 | 0
90032510 | Gas Valve - Natural, WR - CTH2D, CTH2V, HED, HEV, BH, AG, ES |  | 259.86 | 129.93 | 0 | 119.5356 | 0
90032512 | Gas Valve - Propane, WR - CTH2D, CTH2V, HED, HEV, BH, AG, ES |  | 259.86 | 129.93 | 0 | 119.5356 | 0
90033104K | Gas Valve, LP |  | 247.7882 | 123.8941 | 0 | 113.9826 | 0
90033105K | Gas Valve, Natural |  | 247.7882 | 123.8941 | 0 | 113.9826 | 0
90033700K | Gas Valve Kit, HW VR8305 NG (includes Spring Kit for LP Conversion) |  | 310.5064 | 155.2532 | 0 | 142.833 | 0
90034500 | Gas Valve Natural, Caribe GTH |  | 162.7849 | 81.3924 | 0 | 74.881 | 0
90034600 | Gas Valve LP, Caribe GTH |  | 162.7849 | 81.3924 | 0 | 74.881 | 0
90034900 | Gas Valve Natural (For GRDF After Feb. 2016) |  | 225 | 112.5 | 0 | 103.5 | 0
90068300 | SmartValve® II-Natural Gas (For CTH2 After Nov. 1998) |  | 371.2112 | 185.6056 | 0 | 170.7572 | 0
90068302 | SmartValve® II-Propane Gas (For CTH2 After Nov. 1998) |  | 371.2112 | 185.6056 | 0 | 170.7572 | 0
90201400 | Regulator - R400 for CRV A/4-40/5-40/6-60 |  | 93.4084 | 46.7042 | 0 | 42.9679 | 0
90207600 | Maxitrol High Pressure 2PSI Regulator |  | 92.5122 | 46.2561 | 0 | 42.5556 | 0
90207601 | Maxitrol High Pressure 5PSI Reg. 1/2 in. with OPD 125,000 BTU |  | 140.9964 | 70.4982 | 0 | 64.8583 | 0
90207602 | Maxitrol High Pressure 5PSI Reg. 3/4 in. with OPD 320,000 BTU |  | 270.6377 | 135.3189 | 0 | 124.4933 | 0
90320109K | Kit, Control Board Replacement - 80 NG |  | 615.7895 | 307.8948 | 0 | 283.2632 | 0
90320110K | Kit, Control Board Replacement - 80 LP |  | 615.7895 | 307.8948 | 0 | 283.2632 | 0
90320111K | Kit, Control Board Replacement - 115 NG |  | 615.7895 | 307.8948 | 0 | 283.2632 | 0
90320112K | Kit, Control Board Replacement - 115 LP |  | 615.7895 | 307.8948 | 0 | 283.2632 | 0
90320113K | Kit, Control Board Replacement - 150 NG |  | 615.7895 | 307.8948 | 0 | 283.2632 | 0
90320114K | Kit, Control Board Replacement - 150 LP |  | 615.7895 | 307.8948 | 0 | 283.2632 | 0
90320115K | Kit, Control Board Replacement - 200 NG |  | 615.7895 | 307.8948 | 0 | 283.2632 | 0
90422500 | Relay - Zone Old Panel Box |  | 50.6362 | 25.3181 | 0 | 23.2927 | 0
90425200 | Relay - Cam-Stat Circuit Timer 24V Panel Box |  | 201.5245 | 100.7623 | 0 | 92.7013 | 0
90426200 | Timer - Pre and Post Purge Control |  | 105.4931 | 52.7466 | 0 | 48.5268 | 0
90426600 | Rectifier Package |  | 78.1288 | 39.0644 | 0 | 35.9392 | 0
90426700 | Relay - Old Panel Box |  | 39.3878 | 19.6939 | 0 | 18.1184 | 0
90427400 | Electrode Assembly |  | 54.7824 | 27.3912 | 0 | 25.1999 | 0
90427403 | Electrode |  | 40.1499 | 20.075 | 0 | 18.469 | 0
90427702 | Ignition Cable |  | 7.2362 | 3.6181 | 0 | 3.3287 | 0
90427706 | Ignition Cable |  | 16.6112 | 8.3056 | 0 | 7.6411 | 0
90429100 | Relay, 120V, Rail Mount |  | 128.7266 | 64.3633 | 0 | 59.2142 | 0
90433701 | Pressure Switch - Normally Open |  | 136.1062 | 68.0531 | 0 | 62.6088 | 0
90434007 | Ignition Control Module - Dual - TF |  | 344.0634 | 172.0317 | 0 | 158.2692 | 0
90434009K | Ignition Module Kit, Direct Spark (used on CGTH after 12/1/10) |  | 230.5137 | 115.2569 | 0 | 106.0363 | 0
90434009A | Ignition Module, Direct Spark (used on CGTH before 12/1/10) |  | 274.7298 | 137.3649 | 0 | 126.3757 | 0
90434300 | Igniter |  | 54.415 | 27.2075 | 0 | 25.0309 | 0
90434400 | Flame Sensor |  | 55.469 | 27.7345 | 0 | 25.5157 | 0
90434800 | Ignition Cable Assembly |  | 14.7331 | 7.3666 | 0 | 6.7772 | 0
90434900K | Pressure Switch Replacement Kit |  | 159.0684 | 79.5342 | 0 | 73.1715 | 0
90436500 | Ignition Module - Hot Surface |  | 261.2423 | 130.6211 | 0 | 120.1715 | 0
90436600K | Igniter Replacement Kit - HSI - CTH3, DS (For EV and CTH2 Before Nov. 1998) |  | 54.1831 | 27.0915 | 0 | 24.9242 | 0
90436603K | Igniter with Harness - HSI - DS, HE (For CTH2 After Nov. 1998) |  | 58.9105 | 29.4553 | 0 | 27.0989 | 0
90436800 | Door Snap Switch |  | 25.0073 | 12.5036 | 0 | 11.5033 | 0
90436900K | Transformer |  | 60.9086 | 30.4543 | 0 | 28.018 | 0
90437900 | Relay - Electronic Control Panel Pump |  | 61.7466 | 30.8733 | 0 | 28.4034 | 0
90439101K | Igniter, Primary |  | 44.4359 | 22.218 | 0 | 20.4405 | 0
90439102 | Igniter, CTH2D, HED, AG |  | 18.02 | 9.01 | 0 | 8.2892 | 0
90439300 | Flame Sensor - CTH3, CTH2 After Nov. '98; HE(D)(V); CGTH; CTH2(D)(V); CTHN |  | 28.893 | 14.4465 | 0 | 13.2908 | 0
90439500K | Ignition Module - Triton - 3-Try (Vertical Pin Connector) |  | 240.275 | 120.1375 | 0 | 110.5265 | 0
90439801K | Pressure Switch |  | 110.221 | 55.1105 | 0 | 50.7016 | 0
90439802K | Pressure Switch |  | 110.221 | 55.1105 | 0 | 50.7016 | 0
90439803K | Pressure Switch |  | 110.221 | 55.1105 | 0 | 50.7016 | 0
90439804K | Pressure Switch |  | 110.221 | 55.1105 | 0 | 50.7016 | 0
90439805K | Pressure Switch |  | 110.221 | 55.1105 | 0 | 50.7016 | 0
90439806K | Pressure Switch |  | 110.221 | 55.1105 | 0 | 50.7016 | 0
90439807K | Pressure Switch |  | 110.221 | 55.1105 | 0 | 50.7016 | 0
90439808K | Pressure Switch |  | 110.221 | 55.1105 | 0 | 50.7016 | 0
90439809K | Pressure Switch |  | 110.22 | 55.11 | 0 | 50.7012 | 0
90439810K | Pressure Switch |  | 122.8238 | 61.4119 | 0 | 56.4989 | 0
90439812K | Pressure Switch |  | 122.8238 | 61.4119 | 0 | 56.4989 | 0
90447140 | Relay SPDT 24VAC |  | 31.88 | 15.94 | 0 | 14.6648 | 0
90604500 | Motor, 3/4 HP (A/B PUMP) |  | 733.5389 | 366.7695 | 0 | 337.4279 | 0
90604501 | Motor - 3/4 HP 3 PH EP200 With Special Seal |  | 742.4769 | 371.2384 | 0 | 341.5394 | 0
90604600 | Motor - 1/3 HP |  | 643.4053 | 321.7027 | 0 | 295.9664 | 0
90605102 | Motor - 2 HP, 230 V, 1 PH |  | 1578.6372 | 789.3186 | 0 | 726.1731 | 0
90605103 | Motor - 2 HP, 230 V, 3 PH |  | 2107.3658 | 1053.6829 | 0 | 969.3883 | 0
90707010 | Inline Air Filter |  | 16.4114 | 8.2057 | 0 | 7.5493 | 0
90707200 | Air Seal - Pilot Switch |  | 2.4629 | 1.2314 | 0 | 1.1329 | 0
90708600-P | Motor/Blower Assy. CTH2D, HE(D)(V), AG, CTH2(D)(V), TF-120; ER, ET3 |  | 317.9767 | 158.9883 | 0 | 146.2693 | 0
90708601-P | Motor/Blower - GTH Package |  | 324.2117 | 162.1059 | 0 | 149.1374 | 0
90708602-P | Blower Package - CTH3 80, 115 |  | 293.1924 | 146.5962 | 0 | 134.8685 | 0
90709700-P | Motor/Blower Assembly |  | 331.0498 | 165.5249 | 0 | 152.2829 | 0
90709801 | Gasket - Blower Outlet |  | 2.5628 | 1.2814 | 0 | 1.1789 | 0
90709900-P | Blower Assembly Package - CTH3-150, 200 |  | 323.5764 | 161.7882 | 0 | 148.8451 | 0
90709910 | Blower Inlet Gasket - CTH3-150, 200 |  | 10.6471 | 5.3236 | 0 | 4.8977 | 0
90710201-P | Motor-Blower - CGTH Retrofit Package |  | 485.7523 | 242.8761 | 0 | 223.446 | 0
90710400-P | Blower Package, TF-160, 200, 250, 300, 350 and 380 |  | 407.8842 | 203.9421 | 0 | 187.6267 | 0
90713340 | Impeller Assembly - 340 mm dia. |  | 601.217 | 300.6085 | 0 | 276.5598 | 0
90713451 | Pump Scroll Assembly |  | 380.323 | 190.1615 | 0 | 174.9486 | 0
90713454 | Pump Inlet Assembly |  | 409.8391 | 204.9195 | 0 | 188.526 | 0
91107720 | U-Clips (20 Pkg) |  | 6.1274 | 3.0637 | 0 | 2.8186 | 0
91109300 | Washer - Flat Brass |  | 1.776 | 0.88799 | 0 | 0.81695 | 0
91118008 | Fastener - Set Screw 3/8-24 x 1/2" |  | 0.56977 | 0.28489 | 0 | 0.2621 | 0
91118009 | Set Screw - #10-32 3/16 cup pt. |  | 0.79036 | 0.39518 | 0 | 0.36357 | 0
91306400 | Power Cord |  | 17.424 | 8.712 | 0 | 8.015 | 0
91306405 | Power Cord - CGTH |  | 25.8237 | 12.9119 | 0 | 11.8789 | 0
91309300 | Junction Box |  | 10.9565 | 5.4782 | 0 | 5.04 | 0
91309600 | Strain Relief |  | 1.226 | 0.61302 | 0 | 0.56398 | 0
91309700 | Grommet - Flexible |  | 3.0124 | 1.5062 | 0 | 1.3857 | 0
91309701 | Grommet - Liquid Tight |  | 23 | 11.5 | 0 | 10.58 | 0
91316102 | Light - Green - 24V |  | 18.3614 | 9.1807 | 0 | 8.4462 | 0
91316103 | Light - Green LED - CTH2D, HED, HEV, CTH2V |  | 20.69 | 10.345 | 0 | 9.5174 | 0
91317900 | Thermostat Connection |  | 2.5168 | 1.2584 | 0 | 1.1577 | 0
91317901 | Thermostat Connection - 3 Pin |  | 16.32 | 8.16 | 0 | 7.5072 | 0
91321550 | Rotary Disconnect base Block |  | 291.51 | 145.755 | 0 | 134.0946 | 0
91321551 | Rotary Disconnect Handle |  | 115.566 | 57.783 | 0 | 53.1604 | 0
91321610 | Lamp Socket 11/16" dia Thread |  | 10.8257 | 5.4128 | 0 | 4.9798 | 0
91321611 | Lamp 24 VAC/DC .07 A |  | 5.5283 | 2.7642 | 0 | 2.543 | 0
91321614 | Lamp Green Enclosure Mount w/ Light |  | 95.841 | 47.9205 | 0 | 44.0869 | 0
91321615 | Lamp Red Enclosure Mount w/ Light |  | 95.841 | 47.9205 | 0 | 44.0869 | 0
91406940 | Gasket - CRV A/B Pump (2 Required Per Side, Order in Multiples of 2) |  | 7.7379 | 3.8689 | 0 | 3.5594 | 0
91412802 | Flexible Boot - 6" (15 cm) |  | 92.5636 | 46.2818 | 0 | 42.5793 | 0
91901300 | Band Clamp - 4 in. (10 cm) |  | 5.6058 | 2.8029 | 0 | 2.5787 | 0
91906100 | Rubber Mounts for Pump Motor |  | 15.185 | 7.5925 | 0 | 6.9851 | 0
91906900 | Silicone Ring - EP200 |  | 18.2262 | 9.1131 | 0 | 8.3841 | 0
91911704 | Flue Collar - 4" |  | 10.605 | 5.3025 | 0 | 4.8783 | 0
91912500 | U-Bolt |  | 5.9745 | 2.9873 | 0 | 2.7483 | 0
91913703 | Band Clamp - 6 in. (15 cm) |  | 10.6174 | 5.3087 | 0 | 4.884 | 0
92113000 | Hex Nuts, 1/4" - 20 |  | 0.33084 | 0.16542 | 0 | 0.15218 | 0
92113900 | Hex Nuts, 5/16-18 |  | 0.3188 | 0.1594 | 0 | 0.14665 | 0
92311600 | Locknut 10-24 Keps |  | 0.3188 | 0.1594 | 0 | 0.14665 | 0
92700025 | Gasket - Burner to Straight Transition Tube |  | 6.55 | 3.275 | 0 | 3.013 | 0
93313100 | SCREW - SS |  | 5.673 | 2.8365 | 0 | 2.6096 | 0
93413008 | BOLT - 1/4-20 X1/2 HEX HD STL SCR |  | 0.31246 | 0.15623 | 0 | 0.14373 | 0
95211600 | Washer 5/16 Flat |  | 0.17844 | 0.089222 | 0 | 0.082084 | 0
95212400 | Washer - Flat Nylon |  | 0.34922 | 0.17461 | 0 | 0.16064 | 0
96211500 | Lockwasher - 1/4 External Tooth |  | 0.22056 | 0.11028 | 0 | 0.10146 | 0
96411600 | LOCKWASHER - 5/16 HELICAL SPRING |  | 0.22056 | 0.11028 | 0 | 0.10146 | 0
T00680 | Isolator Pads |  | 5.4151 | 2.7075 | 0 | 2.4909 | 0
Total Net Price |  |  |  |  | 0 |  | 0
Total Net with 3% Vol. Disc. | [6 empty] | 0
$ Savings W/ Vol. Disc. | [6 empty] | 0
% Savings W/ Vol. Disc. | [6 empty] | #DIV/0!
Roberts-Gordon LLC · 1250 William Street · P.O. Box 44 · Buffalo, New York · 14240-0044
Telephone: 716.852.4400 · Fax: 716.852.0854 · Toll Free: 800.828.7450 · www.robertsgordon.com
Important Notes:
Prices are in CAD, F.O.B. Roberts-Gordon's plant.
Prices are subject to the Roberts-Gordon LLC Terms and Conditions of Sale, and any other terms and conditions are hereby expressly rejected.
Copies are available on request.
Roberts-Gordon reserves the right to vary equipment specifications and change prices without notice. Except to the extent Roberts-Gordon provides a signed quotation that states that it is a firm quote for a fixed period of time,
all prices provided by Roberts-Gordon, whether in its catalog, pricing software or otherwise, are subject to change and revision by Roberts-Gordon at any time. All orders are deemed made at the Roberts-Gordon prices current
at the time of order acceptance and may be accepted by Roberts-Gordon on those terms.
No order is binding until accepted by Roberts-Gordon in writing.
All returns are subject to prior Roberts-Gordon authorization and conditions. Roberts-Gordon reserves the right to refuse all non-warranty returns, and approved non-warranty returns will be subject to a 25% restocking charge.
Customer pays all freight on returns.
Installation Code and Annual Inspections: All installation and service of ROBERTS GORDON® equipment must be performed by a contractor qualified in the installation and service of equipment sold and supplied
by Roberts Gordon LLC and conform to all requirements set forth in the ROBERTS GORDON® manuals and all applicable governmental authorities pertaining to the installation, service, operation and labelling of the equipment.
To help facilitate optimum performance and safety, Roberts Gordon LLC recommends that a qualified contractor conduct, at a minimum, annual inspections of your
ROBERTS GORDON® equipment and perform service where necessary, using only replacement parts sold and supplied by Roberts Gordon LLC.
Further Information: Applications, engineering and detailed guidance on systems design, installation and equipment performance is available through ROBERTS GORDON® representatives.
Please contact us for any further information you may require, including the Installation, Operation and Service Manual.
These products (with the exception of the CGTH) are not for residential use.
This document is intended to assist licensed professionals in the exercise of their professional judgment.
©2018 Roberts-Gordon LLC All rights reserved. No part of this work covered by the copyrights herein may be reproduced or copied in any form or by any means – graphic, electronic, or mechanical,
including photocopying, recording, taping, or information storage and retrieval systems – without written permission of Roberts-Gordon LLC.
Terms of Use
These Terms of Use are a contract between you and Roberts-Gordon LLC. By using any electronic media we provide, for any purpose including but not limited to, for equipment sizing, design, and selection and pricing
(“Electronic Media”), you are agreeing to be bound by the following terms and conditions (“Terms of Use”). If you do not agree to these Terms of Use, do not use any Electronic Media we provide; instead, promptly return
it to Roberts-Gordon LLC. This contract is effective until terminated by Roberts-Gordon LLC. This contract will be terminated immediately and without notice in the event that you fail to comply with any term or condition hereof.
1. Ownership of Content.
The Electronic Media is owned by Roberts-Gordon LLC. “Electronic Media” provided includes any electronic form, such as but not limited to an actual CD that has to be installed or electronic file that has to be downloaded.
The visual interfaces, graphics, design, compilation, information, computer code (including source code or object code), products, software, services, and all other elements of the Electronic Media (the “Materials”) are
protected by United States copyright, trade dress, patent, and trademark laws, international conventions, and all other relevant intellectual property and proprietary rights, and applicable laws. All Materials contained on the
Electronic Media are the property of Roberts-Gordon LLC or its subsidiaries or affiliated companies and/or third-party licensors. All trademarks, logos and service marks displayed on the Electronic Media, whether
registered or unregistered, are owned exclusively by Roberts-Gordon LLC or its affiliates and/or other third parties. Nothing contained in these Terms of Use, nor your use of the Materials, shall be construed as granting
you any license or right in or to any trademark, logo, or service mark. Roberts-Gordon LLC reserves all rights not expressly granted in this Terms of Use.
2. License
Roberts-Gordon LLC hereby grants you a nontransferable, nonexclusive license to use the Materials contained on the Electronic Media solely for your information and own personal, non-commercial use, to be used with
a single computer at a single location. You may download and/or print a single copy of any of the Materials contained herein for your personal use; however, you shall not otherwise reproduce, display, publish, distribute,
sell, license, or modify the Materials or incorporate the Materials into other documents, Electronic Media, or publications. This license is not a sale of the Electronic Media or any copy thereof. Roberts-Gordon LLC
retains the title and ownership of the Electronic Media and all copies, regardless of the form or media on or in which the original or any copy may exist. You may not copy, encourage or allow copying of the Electronic Media,
except when you make a single copy for archival purposes only. You may be held legally responsible for any copyright infringement which is caused or encouraged by your failure to abide by this Terms of Use. You may not transfer,
convey, rent, sublicense, or otherwise distribute the Electronic Media or accompanying documentation, or any rights therein to any person or entity. Any attempt to so distribute the Electronic Media or accompanying
documentation shall be void.
3. Modification of these Terms of Use; Termination.
Roberts-Gordon LLC reserves the right, at our discretion, to change, modify, add, or remove portions of these Terms of Use at any time.
4. Disclaimer of Warranties
The Electronic Media and Materials may contain inaccuracies and/or typographical errors. The Electronic Media and Materials are provided to you on an "AS IS" basis. ROBERTS-GORDON LLC DISCLAIMS ANY
AND ALL WARRANTIES EXPRESSED, STATUTORY OR IMPLIED WITH RESPECT TO THE ELECTRONIC MEDIA OR THE MATERIALS, INCLUDING BUT NOT LIMITED TO ANY IMPLIED WARRANTIES OF
MERCHANTABILITY, NON-INFRINGEMENT OR THIRD PARTY RIGHTS AND FITNESS FOR A PARTICULAR PURPOSE.
5. Limitation of Liability and Damages
Roberts-Gordon LLC does not warrant, guarantee or make any representations regarding the use or the results of the Electronic Media in terms of its correctness, accuracy, performance, reliability or otherwise.
The entire risk as to the results and performance of the Electronic Media is assumed by you. This Electronic Media is merely a tool to aid you, the results of which should be checked against your own calculations.
Roberts-Gordon LLC makes no warranties, express or implied including without limitation the implied warranties of merchantability and fitness for a particular purpose.
TO THE FULLEST EXTENT ALLOWED BY APPLICABLE LAW, ROBERTS-GORDON LLC HEREBY DISCLAIMS, AND IN NO EVENT SHALL ROBERTS-GORDON LLC OR ANY PARTY INVOLVED IN
CREATING OR PRODUCING THE ELECTRONIC MEDIA, BE LIABLE FOR ANY DIRECT, INDIRECT OR CONSEQUENTIAL DAMAGES RESULTING FROM LOSS RELATED TO THE USE OF THE ELECTRONIC
MEDIA OR ANY MATERIALS, WHETHER IN AN ACTION OF CONTRACT, NEGLIGENCE, OR OTHER TORTUOUS ACTION, EVEN IF ROBERTS-GORDON LLC HAS BEEN ADVISED OF THE POSSIBILITY OF
SUCH DAMAGES, INCLUDING DAMAGES FOR LOSS OF BUSINESS PROFITS, BUSINESS INTERRUPTIONS, LOSS OF BUSINESS INFORMATION AND THE LIKE, ARISING OUT THE USE OR LIABILITY TO USE
THE ELECTRONIC MEDIA. FURTHERMORE, ROBERTS-GORDON LLC SHALL NOT BE LIABLE FOR ANY DAMAGES TO YOUR PROPERTY OR LOSS OF DATA THAT RESULTS FROM THE DOWNLOAD OR
USE OF THE MATERIALS.
6. Indemnification
You agree to indemnify, save, and hold ROBERTS-GORDON LLC, its affiliated companies, contractors, employees, agents and its third-party suppliers, licensors, and partners harmless from any claims, losses,
damages, liabilities, including legal fees and expenses, arising out of your use or misuse of the ELECTRONIC MEDIA, any violation by you of these Terms of Use, or any breach of the representations, warranties,
and covenants made by you herein. ROBERTS-GORDON LLC reserves the right, at your expense, to assume the exclusive defense and control of any matter for which you are required to indemnify
ROBERTS-GORDON LLC, and you agree to cooperate with ROBERTS-GORDON LLC’s defense of these claims. ROBERTS-GORDON LLC will use reasonable efforts to notify you of any such claim,
action, or proceeding upon becoming aware of it.
7. Miscellaneous
These Terms of Use constitute the entire agreement between you and ROBERTS-GORDON LLC and govern your use of the ELECTRONIC MEDIA, superseding any prior agreements between you and
ROBERTS-GORDON LLC(including, but not limited to, any prior versions of the Terms of Use) and any prior representations by ROBERTS-GORDON LLC. These Terms of Use shall be governed by and
construed in accordance with the laws of the State of New York, without regard to conflicts of law principles. The failure of ROBERTS-GORDON LLC to exercise or enforce any right or provision of the
Terms of Use shall not constitute a waiver of such right or provision. If any provision of the Terms of Use is found by a court of competent jurisdiction to be invalid, the parties nevertheless agree that the
court should endeavor to give effect to the parties’ intentions as reflected in the provision, and the other provisions of the Terms of Use remain in full force and effect. You agree that regardless of any statute or l
aw to the contrary, any claim or cause of action brought against ROBERTS-GORDON LLC and its subsidiaries, affiliates, officers, agents, co-branders or other partners and employees, arising out of or related to use of
the ELECTRONIC MEDIA or the Terms of Use must be filed within one (1) year after such claim or cause of action arose or be forever barred. The section titles in the Terms of Use are for convenience only and have
no legal or contractual effect.
8. In the Event of Merger or Sale
In the event that ROBERTS-GORDON LLC is acquired by or merged with a third-party entity, we reserve the right, in any of these circumstances, to transfer or assign the information that we have collected from Users
as part of such merger, acquisition, sale, or other change of control.
9. ROBERTS-GORDON LLC Contact Information:
Please contact ROBERTS-GORDON LLC with any questions or comments about this Terms of Use at: “Contact Us” [http://www.robertsgordon.com/].

## Recommended Replacement Parts
Sheet
CA East - Spring 2018 Preseason Parts Promotion Order Form - Recommended Replacement Parts Order
|  |  | Standard Pricing |  |  | Promo Pricing
|  |  |  | 0.5 |  | 0.46
Part Number | Description | Qty | 2018 CA Jan List | 2018 Reg Net | 2018 Reg Tot | 2018 Promo Net | 2018 CA Promo Total
01312401-24P | Filter Cartridge with Gasket Set - Box of 24 - CRV A, B, E, 4-40, 5-40 | 2 | 575.3132 | 287.6566 | 575.3132 | 264.6441 | 529.2882
01313701 | Pilot Switch - CRV A, 5-40, 6-60 | 2 | 194.6221 | 97.3111 | 194.6221 | 89.5262 | 179.0524
01316601K | Spark Generator Kit | 5 | 170.7069 | 85.3535 | 426.7673 | 78.5252 | 392.6259
02568200 | Gasket - Burner to Transition Tube | 10 | 4.9625 | 2.4813 | 24.8127 | 2.2828 | 22.8277
02713200 | Electrode Replacement | 10 | 54.1717 | 27.0858 | 270.8584 | 24.919 | 249.1898
90032512 | Gas Valve - Propane, WR - CTH2D, CTH2V, HED, HEV, BH, AG, ES | 3 | 259.86 | 129.93 | 389.79 | 119.5356 | 358.6068
90032502 | Gas Valve - LP - ET3, ER, GRNP, CTH2 Before 11/98 ;NG & LP for CRV | 3 | 259.8575 | 129.9288 | 389.7863 | 119.5345 | 358.6034
90427400 | Electrode Assembly | 5 | 54.7824 | 27.3912 | 136.9559 | 25.1999 | 125.9994
90434300 | Igniter | 5 | 54.415 | 27.2075 | 136.0375 | 25.0309 | 125.1545
90436603K | Igniter with Harness - HSI - DS, HE (For CTH2 After Nov. 1998) | 3 | 58.9105 | 29.4553 | 88.3658 | 27.0989 | 81.2966
90436900K | Transformer | 3 | 60.9086 | 30.4543 | 91.3629 | 28.018 | 84.0539
90439300 | Flame Sensor - CTH3, CTH2 After Nov. '98; HE(D)(V); CGTH; CTH2(D)(V); CTHN | 3 | 28.893 | 14.4465 | 43.3395 | 13.2908 | 39.8723
90439500K | Ignition Module - Triton - 3-Try (Vertical Pin Connector) | 10 | 240.275 | 120.1375 | 1201.3751 | 110.5265 | 1105.2651
90708600-P | Motor/Blower Assy. CTH2D, HE(D)(V), AG, CTH2(D)(V), TF-120; ER, ET3 | 3 | 317.9767 | 158.9883 | 476.965 | 146.2693 | 438.8078
90709700-P | Motor/Blower Assembly | 3 | 331.0498 | 165.5249 | 496.5747 | 152.2829 | 456.8487
Total Net Price |  |  |  |  | 4942.9265 |  | 4547.4924
$ Savings | [6 empty] | 395.4341
% Savings | [6 empty] | 8%
Roberts-Gordon LLC · 1250 William Street · P.O. Box 44 · Buffalo, New York · 14240-0044
Telephone: 716.852.4400 · Fax: 716.852.0854 · Toll Free: 800.828.7450 · www.robertsgordon.com
Important Notes:
Prices are in CAD, F.O.B. Roberts-Gordon's plant.
Prices are subject to the Roberts-Gordon LLC Terms and Conditions of Sale, and any other terms and conditions are hereby expressly rejected.
Copies are available on request.
Roberts-Gordon reserves the right to vary equipment specifications and change prices without notice. Except to the extent Roberts-Gordon provides a signed quotation that states that it is a firm quote for a fixed period of time,
all prices provided by Roberts-Gordon, whether in its catalog, pricing software or otherwise, are subject to change and revision by Roberts-Gordon at any time. All orders are deemed made at the Roberts-Gordon prices current
at the time of order acceptance and may be accepted by Roberts-Gordon on those terms.
No order is binding until accepted by Roberts-Gordon in writing.
All returns are subject to prior Roberts-Gordon authorization and conditions. Roberts-Gordon reserves the right to refuse all non-warranty returns, and approved non-warranty returns will be subject to a 25% restocking charge.
Customer pays all freight on returns.
Installation Code and Annual Inspections: All installation and service of ROBERTS GORDON® equipment must be performed by a contractor qualified in the installation and service of equipment sold and supplied
by Roberts Gordon LLC and conform to all requirements set forth in the ROBERTS GORDON® manuals and all applicable governmental authorities pertaining to the installation, service, operation and labelling of the equipment.
To help facilitate optimum performance and safety, Roberts Gordon LLC recommends that a qualified contractor conduct, at a minimum, annual inspections of your
ROBERTS GORDON® equipment and perform service where necessary, using only replacement parts sold and supplied by Roberts Gordon LLC.
Further Information: Applications, engineering and detailed guidance on systems design, installation and equipment performance is available through ROBERTS GORDON® representatives.
Please contact us for any further information you may require, including the Installation, Operation and Service Manual.
These products (with the exception of the CGTH) are not for residential use.
This document is intended to assist licensed professionals in the exercise of their professional judgment.
©2018 Roberts-Gordon LLC All rights reserved. No part of this work covered by the copyrights herein may be reproduced or copied in any form or by any means – graphic, electronic, or mechanical,
including photocopying, recording, taping, or information storage and retrieval systems – without written permission of Roberts-Gordon LLC.
Terms of Use
These Terms of Use are a contract between you and Roberts-Gordon LLC. By using any electronic media we provide, for any purpose including but not limited to, for equipment sizing, design, and selection and pricing
(“Electronic Media”), you are agreeing to be bound by the following terms and conditions (“Terms of Use”). If you do not agree to these Terms of Use, do not use any Electronic Media we provide; instead, promptly return
it to Roberts-Gordon LLC. This contract is effective until terminated by Roberts-Gordon LLC. This contract will be terminated immediately and without notice in the event that you fail to comply with any term or condition hereof.
1. Ownership of Content.
The Electronic Media is owned by Roberts-Gordon LLC. “Electronic Media” provided includes any electronic form, such as but not limited to an actual CD that has to be installed or electronic file that has to be downloaded.
The visual interfaces, graphics, design, compilation, information, computer code (including source code or object code), products, software, services, and all other elements of the Electronic Media (the “Materials”) are
protected by United States copyright, trade dress, patent, and trademark laws, international conventions, and all other relevant intellectual property and proprietary rights, and applicable laws. All Materials contained on the
Electronic Media are the property of Roberts-Gordon LLC or its subsidiaries or affiliated companies and/or third-party licensors. All trademarks, logos and service marks displayed on the Electronic Media, whether
registered or unregistered, are owned exclusively by Roberts-Gordon LLC or its affiliates and/or other third parties. Nothing contained in these Terms of Use, nor your use of the Materials, shall be construed as granting
you any license or right in or to any trademark, logo, or service mark. Roberts-Gordon LLC reserves all rights not expressly granted in this Terms of Use.
2. License
Roberts-Gordon LLC hereby grants you a nontransferable, nonexclusive license to use the Materials contained on the Electronic Media solely for your information and own personal, non-commercial use, to be used with
a single computer at a single location. You may download and/or print a single copy of any of the Materials contained herein for your personal use; however, you shall not otherwise reproduce, display, publish, distribute,
sell, license, or modify the Materials or incorporate the Materials into other documents, Electronic Media, or publications. This license is not a sale of the Electronic Media or any copy thereof. Roberts-Gordon LLC
retains the title and ownership of the Electronic Media and all copies, regardless of the form or media on or in which the original or any copy may exist. You may not copy, encourage or allow copying of the Electronic Media,
except when you make a single copy for archival purposes only. You may be held legally responsible for any copyright infringement which is caused or encouraged by your failure to abide by this Terms of Use. You may not transfer,
convey, rent, sublicense, or otherwise distribute the Electronic Media or accompanying documentation, or any rights therein to any person or entity. Any attempt to so distribute the Electronic Media or accompanying
documentation shall be void.
3. Modification of these Terms of Use; Termination.
Roberts-Gordon LLC reserves the right, at our discretion, to change, modify, add, or remove portions of these Terms of Use at any time.
4. Disclaimer of Warranties
The Electronic Media and Materials may contain inaccuracies and/or typographical errors. The Electronic Media and Materials are provided to you on an "AS IS" basis. ROBERTS-GORDON LLC DISCLAIMS ANY
AND ALL WARRANTIES EXPRESSED, STATUTORY OR IMPLIED WITH RESPECT TO THE ELECTRONIC MEDIA OR THE MATERIALS, INCLUDING BUT NOT LIMITED TO ANY IMPLIED WARRANTIES OF
MERCHANTABILITY, NON-INFRINGEMENT OR THIRD PARTY RIGHTS AND FITNESS FOR A PARTICULAR PURPOSE.
5. Limitation of Liability and Damages
Roberts-Gordon LLC does not warrant, guarantee or make any representations regarding the use or the results of the Electronic Media in terms of its correctness, accuracy, performance, reliability or otherwise.
The entire risk as to the results and performance of the Electronic Media is assumed by you. This Electronic Media is merely a tool to aid you, the results of which should be checked against your own calculations.
Roberts-Gordon LLC makes no warranties, express or implied including without limitation the implied warranties of merchantability and fitness for a particular purpose.
TO THE FULLEST EXTENT ALLOWED BY APPLICABLE LAW, ROBERTS-GORDON LLC HEREBY DISCLAIMS, AND IN NO EVENT SHALL ROBERTS-GORDON LLC OR ANY PARTY INVOLVED IN
CREATING OR PRODUCING THE ELECTRONIC MEDIA, BE LIABLE FOR ANY DIRECT, INDIRECT OR CONSEQUENTIAL DAMAGES RESULTING FROM LOSS RELATED TO THE USE OF THE ELECTRONIC
MEDIA OR ANY MATERIALS, WHETHER IN AN ACTION OF CONTRACT, NEGLIGENCE, OR OTHER TORTUOUS ACTION, EVEN IF ROBERTS-GORDON LLC HAS BEEN ADVISED OF THE POSSIBILITY OF
SUCH DAMAGES, INCLUDING DAMAGES FOR LOSS OF BUSINESS PROFITS, BUSINESS INTERRUPTIONS, LOSS OF BUSINESS INFORMATION AND THE LIKE, ARISING OUT THE USE OR LIABILITY TO USE
THE ELECTRONIC MEDIA. FURTHERMORE, ROBERTS-GORDON LLC SHALL NOT BE LIABLE FOR ANY DAMAGES TO YOUR PROPERTY OR LOSS OF DATA THAT RESULTS FROM THE DOWNLOAD OR
USE OF THE MATERIALS.
6. Indemnification
You agree to indemnify, save, and hold ROBERTS-GORDON LLC, its affiliated companies, contractors, employees, agents and its third-party suppliers, licensors, and partners harmless from any claims, losses,
damages, liabilities, including legal fees and expenses, arising out of your use or misuse of the ELECTRONIC MEDIA, any violation by you of these Terms of Use, or any breach of the representations, warranties,
and covenants made by you herein. ROBERTS-GORDON LLC reserves the right, at your expense, to assume the exclusive defense and control of any matter for which you are required to indemnify
ROBERTS-GORDON LLC, and you agree to cooperate with ROBERTS-GORDON LLC’s defense of these claims. ROBERTS-GORDON LLC will use reasonable efforts to notify you of any such claim,
action, or proceeding upon becoming aware of it.
7. Miscellaneous
These Terms of Use constitute the entire agreement between you and ROBERTS-GORDON LLC and govern your use of the ELECTRONIC MEDIA, superseding any prior agreements between you and
ROBERTS-GORDON LLC(including, but not limited to, any prior versions of the Terms of Use) and any prior representations by ROBERTS-GORDON LLC. These Terms of Use shall be governed by and
construed in accordance with the laws of the State of New York, without regard to conflicts of law principles. The failure of ROBERTS-GORDON LLC to exercise or enforce any right or provision of the
Terms of Use shall not constitute a waiver of such right or provision. If any provision of the Terms of Use is found by a court of competent jurisdiction to be invalid, the parties nevertheless agree that the
court should endeavor to give effect to the parties’ intentions as reflected in the provision, and the other provisions of the Terms of Use remain in full force and effect. You agree that regardless of any statute or l
aw to the contrary, any claim or cause of action brought against ROBERTS-GORDON LLC and its subsidiaries, affiliates, officers, agents, co-branders or other partners and employees, arising out of or related to use of
the ELECTRONIC MEDIA or the Terms of Use must be filed within one (1) year after such claim or cause of action arose or be forever barred. The section titles in the Terms of Use are for convenience only and have
no legal or contractual effect.
8. In the Event of Merger or Sale
In the event that ROBERTS-GORDON LLC is acquired by or merged with a third-party entity, we reserve the right, in any of these circumstances, to transfer or assign the information that we have collected from Users
as part of such merger, acquisition, sale, or other change of control.
9. ROBERTS-GORDON LLC Contact Information:
Please contact ROBERTS-GORDON LLC with any questions or comments about this Terms of Use at: “Contact Us” [http://www.robertsgordon.com/].